## 49
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
1 | 49 (MPCB) | RACK-1 | 1 | Nil | 0.1-0.16 MPCB (SIEMENS) | 3
2 |  |  | 2 | Nil | 0.2-0.30 MPCB (SIEMENS) | 7
3 |  |  | 3 | Nil | 0.2-0.4 MPCB (SIEMENS) | 6
4 |  |  | 4 | Nil | 0.28-0.4 MPCB (SIEMENS) | 5
5 |  | RACK-2 | 1 | Nil | 0.28-0.4 MPCB (SIEMENS) | 6
6 |  |  | 2 | Nil | 0.35-0.5 MPCB (SIEMENS) | 5
7 |  |  | 3 | Nil | 0.4-0.63 MPCB (SIEMENS) | 7
8 |  |  | 4 | Nil | 0.4-0.63 MPCB (SIEMENS) | 3
9 |  | RACK-3 | 1 | Nil | 0.7-1 MPCB (SIEMENS) | 6
10 |  |  | 2 | Nil | 1.1-1.6 MPCB (SIEMENS) | 6
11 |  |  | 3 | Nil | 1.1-1.6 MPCB (SIEMENS) | 5
12 |  |  | 4 | Nil | 1.4-2.0 MPCB (SIEMENS) | 5
13 |  | RACK-4 | 1 | Nil | 1.4-2 MPCB (SIEMENS) | 5
14 |  |  | 2 | Nil | 2.2-3.2 MPCB (SIEMENS) | 7
15 |  |  | 3 | Nil | 2.2-3.2 MPCB (SIEMENS) | 3
16 |  |  | 4 | Nil | 2.8-4 MPCB (SIEMENS) | 4
17 |  | RACK-5 | 1 | Nil | 3.5-5 MPCB (SIEMENS) | 4
18 |  |  | 2 | Nil | 4.5-6.3 MPCB (SIEMENS) | 1
19 |  |  | 3 | Nil | 5.5-8 MPCB (SIEMENS) | 4
20 |  |  | 4 | Nil | 7-10 MPCB (SIEMENS) | 4
21 |  | RACK-6 | 1 | Nil | 1.9-12.5 MPCB (SIEMENS) | 6
22 |  |  | 2 | Nil | 9-12.5 MPCB (SIEMENS) | 7
23 |  |  | 3 | Nil | 11-16 MPCB (SIEMENS) | 1
24 |  |  | 4 | Nil | 13-20 MPCB (SIEMENS) | 6
623 | 66-COMMON SPARES | RACK-1
624
625
626
627
628
629
630
631
632
633
634
635
636
637
638
639
640

## 81
Bero Spares
S.No | Bero | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
1 | 81-MATIC C3 | RACK-1 |  | 25746-33-01-0001 | Model: AS5-FRE-G100-GAU --MNR: R412009210- Make: Aventics ~ | 1
2 |  |  |  | 25746-33-05-0011 | Model: AS5-SOV-G100-024--MNR: R412009269- Make: Aventics ~ | 1
3 |  |  |  | 25746-33-06-0001 | Model: AS5-BAV-G100-MAN --MNR: R412009261- Make: AventicsMod ~ | 1
4 |  |  |  | 25746-33-07-0002 | QUICK EXHAUST VALVE - MODEL NO.34600138-SKU-34600138 PIPE SI ~ | 1
5 |  |  |  | 25746-33-11-0003 | VXF23AAEA- 2 PORT SOL VALVE FOR DUST COLLECTOR TEMP ~ VACUUM DUST COLLECTOR | 1
6 |  |  |  | 25746-33-11-0004 | Model: AS5-DLS-G100-NC3 --MNR: R412009251- Make: Aventics ~ | 1
7 |  |  |  | 25746-33-12-0002 | PULSE VALVE - CATALOGUE NO.CAT NO.G353-058-SKU G353-058 MAKE ~ SHOT VALVE | 1
8 |  |  |  | 25746-39-04-0008 | VABM-B10-25-G12-8-P53(8026225)-MANI ~ FOR common supply manifold | 2
9 |  | RACK-2 |  | 25746-34-02-0005 | DNC-40-100-PPV-A( PART NO.163341) ~ FOR SPRAY PUMP CYLINDER | 1
10 |  |  |  | 25746-34-02-0006 | AEN-50-25-I-P-A ( 536420) ~ FOR MOULD RETAINER CYLINDER | 1
11 |  |  |  | 25746-34-02-0007 | DNC-100-290-PPV-A ( 163464) ~ FOR CSE FWD/BWD CYLINDER | 1
12 |  |  |  | 25746-34-02-0008 | DNC-50-90-PPV-A ( 163368) ~ FOR SAND GATE CYLINDER | 1
13 |  |  |  | 25746-34-02-0009 | DSNU-32-25-PPS-A (559295) ~ FOR CSE | 1
14 |  | RACK-3 |  | 25746-33-05-0006 | double solenoid MNR : 5813592650 ~ SAND GATE OPEN /CLOSE | 1
15 |  |  |  | 25746-33-05-0007 | single solenoid MNR 5813172650 ~ MOLD BLOW OFF SP AUTO AIR PATTERN SPRAY CORE MASK | 1
16 |  |  |  | 25746-33-05-0008 | Regulator R412015142 ~ PATTERN SPRAY PUMP MOLD RETAINER SP WEAR SHOE | 1
17 |  |  |  | 25746-33-05-0009 | single solenoid MNR 5811172650 ~ SPRAY PUMP MOLD RETAINER WEAR SHOE | 1
18 |  |  |  | 25746-33-05-0010 | double solenoid 5811592650 ~ PATTERN LOCK PP SP CORE MASK | 1
19 |  |  |  | 25746-33-11-0001 | MINH-2-1/4-MS (161725) ~ FOR PRESS POUR | 1
20 |  |  |  | 25746-33-11-0002 | MINH-2-3/4-MS (161731) ~ FOR AIR BLOW | 1
21 |  |  |  | 25746-35-01-0001 | SPAU-P1OR-T-R14M-L -PNLK-PNVBA_x0002_M12U +5A (8001200) ~ FOR SHOT UNIT PRESSURE SWITCH | 1
22 |  |  |  | 25746-33-02-0001 | VL/0-3-1/8-B (7803) ~ FOR QPC UP/DOWN CONTROL VALVE | 1
23 |  |  |  | 25746-33-04-0001 | VHS50-F10A-PRESSURE RELIF 3 PORT VALVE TEMPSMC MAKE ~ FOR SHOT VALVE | 1
24 |  |  |  | 25746-33-05-0001 | VL/0-3-3/4 (10049) ~ FOR AIR SHOT VALVE | 1
25 |  |  |  | 25746-33-05-0002 | MFH-3-1/4-S (7959) ~ FOR SHOOTING SOLENOID VALVE | 1
26 |  | RACK-4 |  | 25746-23-01-0003 | R900561274 4WE 6 D6X/EG24N9K4 ~ 10423422 Solenoid valve 4WE6 D | 1
27 |  |  |  | 25746-23-04-0003 | R900483787 / ZDR 6 D132-4X/150YM ~ 10923638 Press. red. valve - modular NG06 | 1
28 |  |  |  | 25746-23-05-0005 | REXROTH POPPET TYPE VALVE MNR -R900052621 - MODEL M- 3SED6UK ~ | 1
29 |  |  |  | 25746-23-05-0014 | R900472020 /DR6DP2-5X/150YM- ~ | 1
30 |  |  |  | 25746-23-11-0005 | R900703811 VT-DFP-A-2X/G24K0/0/V ~ PP SP Main Pump control | 1
31 |  |  |  | 25746-23-11-0006 | R901382353 4WRPEH6CB40L-3X/M/24A1 ~ SP PP Block Assembly | 1
32 |  |  |  | 25746-23-11-0007 | R901435649 Z4WE 6 E54-3X/EG24N9K4QMBG24 ~ CSE Manifold block assembly | 1
33 |  |  |  | 25746-23-11-0008 | R901496442 4WREE6W1-32-3X/V/24A1 ~ CSE Cylinder Valve | 1
34 |  |  |  | 25746-23-11-0010 | R900702020 Z4WEH10E63-4X/6EG24N9ETK4QMAG24/B10 ~ AMC Manifold Block Assembly | 1
35 |  |  |  | 25746-23-05-0007 | R901151294 KSDER1PB/HN9V ~ 10734850 Poppet Directional Valve | 1
36 |  | RACK-5 | 1 | 25746-23-05-0006 | R900912810 LFA 25 DBW2-7X/315 ~ 10923630 Logic cover NG25 | 1
37 |  |  |  | 25746-23-04-0004 | R900424150 / DBDS 10 K1X/315 ~ 10278583 Press. relief valve DBDS10 | 1
38 |  |  | 2 | 25746-23-11-0009 | R901020021 4WRKE10W8-100L-3X/6EG24ETK31/A1D3M ~ AMC Cylinder Valve | 1
39 |  |  | 3 | 25746-23-05-0009 | R900912804 / LFA 16 DBW2-7X/200 ~ 10923646 Cartridge valve - logic NG16 | 1
40 |  |  |  | 25746-23-05-0010 | R900910273 / LFA 25 WEA-7X/ ~ 10923645 Cartridge valve - logic NG25 | 1
41 |  |  |  | 25746-23-05-0011 | R900423724 / DBDS 6 K1X/200 ~ 11038145 Valve DBDS 6 K1X/200 | 1
42 |  |  |  | 25746-23-05-0012 | R900912668-LFA25E-7X/CA10DQMG24F ~ | 1
43 |  |  | 4 | 25746-29-01-0001 | PART CODE:-10410965-SEAL KIT AMC CYLINDER 125/90 ~ | 1
44 |  |  |  | 25746-29-01-0002 | PART CODE:-10410963-SEAL KIT SP CYLINDER 110/80 ~ | 1
45 |  |  |  | 25746-29-01-0003 | PART CODE:-10780820-PP CYLINDER SEAL KIT _030 ~ | 1
46 |  |  |  | 25746-39-05-0001 | 3409C0002 Rubber Strip dia 6 ~ | 22

## 65
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
605 | 65-PRESS POUR | RACK-1 |  | 25747-19-07-0020 |  | 1
606 |  |  |  | 25733-13-03-0002 |  | 1
607 |  |  |  | 25733-19-07-0058 |  | 1
608 |  |  |  |  | RS232-RS485 CONVERTOR WITH CABLE | 1
609 |  | RACK-2 |  | 22265-13-03-0015 | SEMI CONDUCTOR RELAY 3RF2150-1AA45 ~ 3RF2150-1AA45 | 3
610 |  |  |  |  | SEMI CONDUCTOR RELAY 3RF2130-1AA45 ~ 3RF2130-1AA45 | 4
611 |  |  |  | 25747-19-07-0017 |  | 1
612 |  |  |  | 25747-19-07-0019 | PART NO:1769OB16P,DESCRIPTION:16 PT. 24 VDC ELECTRONICALLY F ~ | 1
613 |  |  |  | 25747-19-07-0032 | ITEM CODE-FECO002207-A/B 8 POINT ISOLATED RELAY OUTPUT MODUL ~ | 2
614 |  |  |  | 25733-19-07-0026 |  | 4
615 |  |  |  | 25733-19-07-0022 |  | 1
616 |  |  |  | 25747-19-07-0021 |  | 1
617 |  | RACK-3 |  | 25733-19-07-0064 |  | 1
618 |  |  |  | 25733-15-08-0001 |  | 1
619 |  |  |  | 25713-15-06-0001 |  | 1
620 |  |  |  |  | ANABOND ACRYLIC SEALANT | 1
621 |  | RACK-4 |  |  | KELLER MOUNTINGS
622 |  |  |  | 25793-15-08-0002 |  | 1

## 64
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
572 | 64-PRESS POUR | RACK-1 | 1 | 25600-19-07-0293 | JOYSTICK | 1
573 |  |  |  |  | JOYSTICK CONTACT BLOCK | 10
574 |  |  |  | 27653-13-04-0007 |  | 1
575 |  |  | 2 | 22265-15-06-0003 |  | 2
576 |  |  |  |  | SICK 6038689 PRESSURE TRANSDUSER | 2
577 |  |  | 3 | 20998-19-07-1826 |  | 2
578 |  |  |  | 25713-14-04-0003 |  | 5
579 |  |  |  | 25733-14-06-0007 |  | 3
580 |  |  | 4 |  | TEMPERATURE PROTECTION RELAY TR-7554 PECON ELECTRONICS | 1
581 |  |  |  |  | WINDING TEMPERATURE INDICATOR TR-7543 PECON ELECTRONICS | 1
582 |  | RACK-2 |  | 25733-15-02-0002 |  | 1
583 |  |  |  | 25733-15-07-0004 |  | 3
584 |  |  |  |  | SELECTROR SWITCH ELEMENTS
585 |  |  |  |  | AMMETER 0-3500A | 1
586 |  |  |  |  | VOLTMETER 0-750V | 1
587 |  |  |  |  | PERCENTAGE METER | 1
588 |  |  |  |  | PHOENIX CONTACT RELAY WITH BASE | 2
589 |  |  |  | 25600-19-07-0106 | T/C Plug ( male and female ) ( for auto sintering ) ~ FECO005057 | 3
590 |  | RACK-3 |  | 25733-15-02-0001 | SCHNEIDER MAKE HMI, MODEL NO - GTO5310 FOR PRESS POUR FURNAC ~ | 1
591 |  |  | 1 | 25733-12-02-0001 | 600A FUSE | 4
592 |  |  |  |  | 500A FUSE | 6
593 |  |  | 2 | 25733-14-07-0004 |  | 5
594 |  | RACK-4 | 1 | 25733--14-09-0001 |  | 3
595 |  |  | 2 | 25727-19-05-0001 |  | 2
596 |  |  | 3 |  | IFM TEPERATURE SENSOR | 2
597 |  |  | 4 |  | THERMO METER EN-13190 | 5
598 |  | RACK-5 |  |  | SIEMENS 3TY7 503-0APO | 3
599 |  | RACK-6 | 1 | 22265-15-07-0005 |  | 1
600 |  |  |  | 25733-19-07-0069 |  | 2
601 |  |  |  |  | FLOW METER | 1
602 |  |  |  |  | Y VALVE | 1
603 |  |  |  |  | HYPRO JACKET | 1
604 |  |  |  |  | TEMPEREATURE PROPE | 1

## 44
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
567 | 44-CONTACTOR | RACK-1 |  |  | SCHENIDER LC1 F265 240V AC CONTACTOR [ZEF051] | 2
568 |  | RACK-2 |  |  | SCHENIDER LC1F 500 240V AC CONTACTOR [ZEF049] | 4
569 |  | RACK-3 |  |  | SCHENIDER LC1F 500 240V AC CONTACTOR [ZEF049] | 4
570 |  | RACK-4 |  |  | SCHENIDER LC1F 500 240V AC CONTACTOR [ZEF049] | 2
571 |  | RACK-5 |  |  | SCHENIDER LA9D 115603/604 | 13

## 42
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
530 | 42-CONTACTOR | RACK-1 | 1 |  | SCHENIDER LC1D09BD 24V CONTACTOR | 16
531 |  |  | 2 |  | SCHENIDER LC1D12BD 24V CONTACTOR | 7
532 |  |  | 3 |  | SCHENIDER LC1D18M7 24V CONTACTOR | 7
533 |  |  | 4 |  | SCHENIDER LC1D25BD 24V CONTACTOR | 6
534 |  | RACK-2 | 1 |  | SCHENIDER LC1D32BD 24V CONTACTOR | 11
535 |  |  | 2 |  | SCHENIDER LC1D65AM7 220V AC COIL CONTACTOR | 2
536 |  |  | 3 |  | SCHENIDER LADN31 24V ADDON BLOCK | 3
537 |  |  | 4 |  | SCHENIDER LAD8N11 24V ADDON BLOCK | 10
538 |  | RACK-3 | 1 |  | SCHENIDER LADN22 ADDON BLOCK | 16
539 |  |  | 2 |  | SCHENIDER LADN20 ADDON BLOCK | 4
540 |  |  | 3 |  | SCHENIDER LADN40 ADDON BLOCK | 4
541 |  |  | 4 |  | SCHENIDER LADN11 ADDON BLOCK | 25
542 |  | RACK-4 | 1 |  | SCHENIDER CONTACTOR FASTERNERS | 10
543 |  |  | 2 |  | SCHENIDER LADN04 ADDON BLOCK | 4
544 |  |  |  |  | SCHENIDER LADN13 ADDON BLOCK | 2
545 |  |  | 3 |  | SCHENIDER GVAE11 ADDON BLOCK | 9
546 |  |  |  |  | SCHENIDER GVAED011 ADDON BLOCK | 10
547 |  |  | 4 |  | SCHENIDER LC2K0910E7 CONTACTOR | 2
548 |  | RACK-5 | 1 |  | L&T MNX32 CONTACTOR | 8
549 |  |  | 2 |  | L&T MNX25 CONTACTOR | 3
550 |  |  |  |  | L&T MOC50 CONTACTOR | 1
551 |  |  | 3 |  | L&T MO-SA1L ADDON BLOCK | 1
552 |  |  |  |  | L&T MNX A2 ADDON BLOCK | 5
553 |  |  |  |  | L&T MNX A1 ADDON BLOCK | 9

## 43
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
554 | 43-CONTACTOR | RACK-1 |  |  | SCHENIDER LX1 FJ220 240V CONTACTOR | 2
555 |  |  |  |  | SCHENIDER LC1D150 240V CONTACTOR | 1
556 |  |  |  |  | SCHENIDER LC1D65A 240V CONTACTOR | 2
557 |  |  |  |  | SCHENIDER LC1D 150 240V CONTACTOR[ZEF048] | 6
558 |  | RACK-2 |  |  | TELE MECANIQUE LC1D40 240V CONTACTOR | 2
559 |  |  |  |  | TELE MECANIQUE LC1D50 240V CONTACTOR | 2
560 |  |  |  |  | TELE MECANIQUE LC1D65 240V CONTACTOR | 1
561 |  | RACK-3 |  |  | SCHENIDER LC1D 150 240V CONTACTOR[ZEF048] | 1
562 |  |  |  |  | SCHENIDER LC1G400 100-250V AC/DC CONTACTOR | 2
563 |  | RACK-4 |  |  | SCHENIDER LC1F 400 240V AC CONTACTOR | 3
564 |  |  |  |  | SCHENIDER LC1E 300 240V AC CONTACTOR | 1
565 |  | RACK-5 |  |  | SCHENIDER LC1G 265100-250V AC/DC CONTACTOR | 1
566 |  |  |  |  | SCHENIDER LC1 D150M7 240V AC CONTACTOR | 2

## 39
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
498 | 39-Power & Controller | RACK-1 |  | 21421-15-05-0001 | PHOENIX POWER SUPPLY230VAC I/P, O/P 24vdc, 10A ~ | 1
499 |  |  |  | 25747-11-02-0002 | FECO002116 DC POWER SUPPLY 24V DC 6.2AMP PHOENIX ~ | 3
500 |  |  |  | 20999-15-05-0001 | SMPS 24V 2A DVP-PS02 | 3
501 |  |  |  |  | Multispan MS-1208-M1 | 4
502 |  |  |  |  | Energy Meter Schneider Electric EM1X00LCD | 1
503 |  |  |  |  | MEAN WELL SMPS 12V 6A | 1
504 |  |  |  |  | MEAN WELL SMPS 24 10A | 1
505 |  |  |  |  | DELTA SMPS 12V 2.5A | 1
506 |  |  |  |  | OMORON SMPS 24V 5A | 1
507 |  |  |  |  | SIEMENS 24V 2A | 1
508 |  |  |  |  | OMORON SMPS 24V 4.5A | 1
509 |  |  |  |  | KEW 240V SIREN | 3
510 |  |  |  |  | KEW 24V SIREN | 3
511 |  |  |  |  | VOLT METER | 1
512 |  |  |  |  | VOLT METER 96-300VDC | 1
513 |  |  |  |  | AMMETER 0-50A | 1
514 |  | RACK-2 |  |  | TEMPERATURE CONTROLLER SIGMA AUTOMATION 5V 10A | 2
515 |  |  |  |  | DELTA TEMPERATURE CONTROLLER | 2
516 |  |  |  |  | UDIAN TEMPERATURE CONTROLLER | 2
517 |  |  |  |  | SELEC TC221 | 1
518 |  |  |  |  | SELEC PID500 | 3
519 |  |  |  |  | HEONYWELL TC1010 | 1
520 |  |  |  |  | SELEC MA335 | 1
521 |  |  |  |  | SELEC MFM384 | 1
522 |  |  |  |  | SECURE DPM I100 | 1
523 |  |  |  |  | CONZERV DM3210 | 1
524 |  |  |  |  | CURRENT CONTROLLER SGE | 1
525 |  |  |  |  | MASIBUS 8208 | 1
526 |  | RACK-3 |  |  | OMORON PHOTOELECTRIC SENSOR (E3JK-DP11) | 2
527 |  |  |  |  | PEPPERAL& FUCHS PHOTO ELECTRIC SENSOR | 1
528 |  |  |  |  | MEGGER | 2
529 |  | RACK-4 |  |  | HDMI CABLE - 30m | 1

## 38
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
467 | 38-PLC | RACK-1 |  |  | Simatic S7-200 | 1
468 |  |  |  |  | Delta DVP24-ES2 | 1
469 |  |  |  |  | Simatic S7-200 Fault | 1
470 |  |  |  |  | Siemens S7-1200 | 1
471 |  |  |  |  | Siemens DM1624R | 1
472 |  |  |  |  | Schneider Electric TWDLCAE40DRF | 1
473 |  |  |  |  | Telemeccanique | 1
474 |  |  |  |  | Simatic S7 SM321 | 4
475 |  |  |  |  | Delta HMI DOP-B03S211 | 2
476 |  |  |  |  | Delta HMI DOP-B03E212 | 1
477 |  |  |  |  | Delta DOP-103WQ | 2
478 |  |  |  |  | Delta DOP-103BQ | 2
479 |  |  |  |  | Delta DOP107-WV | 1
480 |  | RACK-2 |  |  | Delta DVP28SV | 1
481 |  |  |  |  | Delta DVP12SA2 | 1
482 |  |  |  |  | Delta DVP202LC | 1
483 |  |  |  |  | Delta DVP-10SX | 3
484 |  |  |  |  | Delta DVP-14SS2 | 12
485 |  |  |  |  | Delta DVP-04PT | 5
486 |  |  |  |  | Delta DVP-08SP | 2
487 |  |  |  |  | Delta DVP-16SP | 3
488 |  |  |  |  | Delta DVP-08SM | 2
489 |  |  |  |  | Delta DVP-08SN | 1
490 |  |  |  |  | Delta DVP-16SM | 1
491 |  | RACK-3 |  |  | Delta DP04G-AL2 | 1
492 |  |  |  |  | Siemens Touch Panel 6AV6 640-0CA11-0AX1 | 2
493 |  |  |  |  | Siemens Touch Panel 6AV6 647-0AB11-3AX0 | 1
494 |  |  |  |  | Simatic S7-200 CN | 1
495 |  |  |  |  | Telemecanicque HMI | 1
496 |  |  |  |  | ESA SC207A0101 HMI | 1
497 |  |  |  |  | EATON XV-102D6-70TWRC-10 | 1

## 27
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
462 | 27-SAND PLANT | RACK-1 | 1 |  | Limit Switch Teknic NG1VS-510-M | 13
463 |  |  | 2 |  | Limit Switch Jai Blaji JC1125 | 8
464 |  |  | 3 | 25748-19-07-0001 | LIMIT SWITCH (4LSPP-2N0+2NC-10A-500VAC BOHMAN MAKE) | 10
465 |  |  |  |  | Limit Switch 10A-500A (BOHMEN) Type -MLRLS | 12
466 |  | RACK-2 | 1 |  | Jai Balaji JLSLA | 8

## 26
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
436 | 26-SAND PLANT | RACK-1 |  | 25501-15-06-0002 | 002616 LOAD CELL 50KG, BULK SCALE ADDITIVES RV19 FOR 50KG - B | 1
437 |  |  |  | 25501-15-06-0001 | 005077 LOAD CELL 1100KG, BULK MATERIAL SCALE RV19 FOR 1500KG | 1
438 |  |  |  | 25501-15-06-0004 | 005041, LOADCELL 550kG, BULK SCALE ADDITIVES RV15 FOR 50KG , | 1
439 |  |  |  | 25501-15-06-0003 | 001175 load cell 500Kg, Liquid scale RV19 for 100Kg B103 | 1
440 |  |  |  |  | Moisture Probe | 1
441 |  |  |  |  | Thermo Couple
442 |  |  |  | 25653-19-07-0011 | Cable box part 0019141 is suitable for new moisture measuring | 2
443 |  |  |  | 25653-19-07-0012 | 007429 Conencting cable for moisture probe ~ | 4
444 |  | RACK-2 |  | 25501-15-01-0001 | LEVEL INSERT ELECTRONICS FEM22, PNP NO 10-45V DC 3 WIRE USAG ~ | 1
445 |  |  |  | 25501-15-01-0002 | LEVEL INSERT, PART NO 52025691 ELECTRONICS FEM24, DPDT 19-25 ~ | 1
446 |  |  |  | 25501-14-09-0001 | LVL-B1-N5-Q3WAA-NA P+F Part number: 194707, Vibration limit ~ | 4
447 |  | RACK-3 |  | 22281-19-07-0009 | Kuttner cooler thermocouple ~ | 7
448 |  |  |  | 22281-12-04-0001 | SPEED MONITORING SWITCH KFU8-DW-1.D | 4
449 |  |  |  | 25501-14-07-0002 | Part no - 119181, P&F make, NCB50-FP-A2-P1 ( Misalignment usa | 2
450 |  |  |  | 22281-12-04-0001 | SPEED MONITORING SWITCH KFU8-DW-1.D | 1
451 |  |  |  | 25501-15-06-0005 | RADIX MAKE PT100 RTD TRANSMITTER DIN MOUNT 3WIRE RTD INPUT, ~ | 2
452 |  |  |  |  | SSU Hopper Distance Sensor | 1
453 |  |  |  |  | Auxilerry Contact Block NO | 6
454 |  |  |  |  | Auxilerry Contact Block NC | 8
455 |  | RACK-4 | 1 |  | 24v Coil | 36
456 |  |  | 2 |  | 230V Coil | 5
457 |  |  | 3 |  | Proximity Sensor M30 | 8
458 |  |  | 4 |  | Micro Limit Switch | 21
459 |  | RACK-5 | 1 |  | Temperature Sensor
460 |  |  | 2 |  | Read Switch | 3
461 |  |  | 3 |  | Limit Switch

## 37
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
418 | 37-DISA MATIC | RACK-1 |  | 25748-15-02-0003 | MATERIAL NAME -ET 200SP, IM155-6PN ST-SPECIFICATION:-6ES7155 ~ | 1
419 |  |  |  |  | Xroth VT5041 | 1
420 |  |  |  | 25746-19-05-0003 | 10099498 Connector Front 8 pol. S7-132 | 5
421 |  |  |  | 25748-15-02-0005 | MATERIAL NAME -ET 200SP, DQ 16x 24V DC/0,5A ST, PU 1-SPECIFIC | 1
422 |  |  |  | 25746-19-07-0026 | 10188044 Relay Safety, Gateway Profinet | 1
423 |  | RACK-2 |  | 25746-15-02-0001 | TK7809505 SIMATIC S7-300, Analog Input S | 1
424 |  |  |  | 25748-15-02-0009 | MATERIAL NAME -SM331, 8AI, 9/12/14Bit-SPECIFICATION:-6ES73317 | 1
425 |  |  |  | 25748-15-02-0001 | MATERIAL NAME -SITOP PSU100L 24 V/5 A-SPECIFICATION:- 6EP1333 | 1
426 |  |  |  | 25748-15-02-0007 | MATERIAL NAME -SM321, 32DI, DC24V-SPECIFICATION:-6ES73211BL00 | 1
427 |  | RACK-3 |  | 25748-15-02-0008 | MATERIAL NAME -SM322, 16D0 24V DC, 0,5A-SPECIFICATION:- 6ES73 | 1
428 |  |  |  | 25748-15-02-0004 | MATERIAL NAME -ET 200SP, DI 16x 24V DC ST, PU 1-SPECIFICATION | 1
429 |  |  |  | 25746-15-05-0001 | 10099525 Power supply 24V DC ~ | 1
430 |  |  |  | 25746-15-04-0002 | 10099478 Card S7-300 8DI ~ | 1
431 |  |  |  | 25748-15-02-0002 | MATERIAL NAME -ET 200SP, Busadapter BA 2xRJ45-SPECIFICATION:- | 1
432 |  |  |  | 25746-19-07-0007 | 10109784 Control Button Contact Block | 3
433 |  |  |  |  | Simatic S7-300 (Connectors) POo231667 | 1
434 |  |  |  |  | Simatic S7-300 (Connectors) 4200907406 | 1
435 |  |  |  | 25746-13-01-0001 | AB make 100SE146ED12C IEC 146 A Safety Contactor ~ | 1

## 36
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
375 | 36 DISA MATIC | RACK-1 |  | 25748-15-02-0006 | MATERIAL NAME -CPU313C-2 DP, 16D1/16DO, 128 KB-SPECIFICATION ~ | 1
376 |  |  |  | 25746-19-07-0009 | 11083666 Pressure transducer 0-100 bar, 0.1-10V ~ | 1
377 |  |  |  | 25746-15-01-0001 | TK7899053 PCB Holder VT 3002-2X-32D ~ | 1
378 |  |  |  | 25748-15-02-0010 | MATERIAL NAME -SIMATIC HMI TP700 Comfort-SPECIFICATION:- 6AV ~ | 1
379 |  |  |  | 25746-15-05-0003 | 10151179 Power supply 24VDC / 40A ~ | 1
380 |  | RACK-2 |  | 25746-19-07-0028 | REL-MR-24DC/21 - 2961105 PHOENIX CONTACT MAKE ~ | 31
381 |  |  |  | 25746-19-07-0030 | PLC-RSC-24UC/21-2966184- PHOENIX CONTACT MAKE ~ | 10
382 |  |  |  | 25746-19-07-0029 | PLC-BSC- 24DC/21 - 2966016 PHOENIX CONTACT MAKE ~ | 15
383 |  |  |  | 25746-19-07-0031 | PLC-RSC-24DC/21-2966171- PHOENIX CONTACT MAKE ~ | 9
384 |  | RACK-3 |  | 25746-19-07-0008 | 11254111 Press. sensor 2-PNP/NPN ~ | 1
385 |  |  |  | 25746-19-07-0020 | 10190255 Connector M8 8P F 10m ~ | 1
386 |  |  |  |  | RELAY BASE (OMRON) | 20
387 |  |  |  | 25746-19-05-0002 | 10099499 Connector S7 131 ~ | 1
388 |  |  |  | 25746-19-07-0005 | 10109778 Control Button Contact Block ~ | 3
389 |  |  |  | 25746-14-09-0006 | 9116X0093 Switch ~ | 2
390 |  |  |  | 25746-14-09-0005 | 9116X0080 Switch ~ | 2
391 |  |  |  | 25746-19-07-0004 | 10155074 Stay put SS - 4 Position ~ | 1
392 |  |  |  | 25746-19-07-0019 | 11276643 Safety switch PSEN cs3.1p | 6
393 |  |  |  | 25746-15-04-0005 | 10099479 Card S7-300 8D0 ~ | 1
394 |  |  |  | 25746-14-03-0001 | 10109785 Push button -Turn to Release ~ | 2
395 |  |  |  | 25746-14-09-0002 | 9116X0121 Switch ~ | 1
396 |  |  |  | 25746-19-05-0004 | 9116X0081 Connector ~ | 1
397 |  |  |  | 25746-19-07-0015 | 10032042 Magnet for 9138x3569 ~ | 2
398 |  |  |  | 25746-14-07-0001 | 10043469 Proxim switch 24V,PNP,M18X1,0 ~ | 1
399 |  |  |  | 25746-19-07-0002 | 10151313 Thermostat-SP ~ | 1
400 |  |  |  | 25746-19-07-0001 | 10151312 Thermostat ~ | 1
401 |  |  |  | 25746-15-04-0005 | 10099479 Card S7-300 8D0 ~ | 1
402 |  |  |  | 25746-14-09-0001 | 10234273 Pad - Pilz switch ~ | 1
403 |  |  |  | 25746-19-05-0008 | 10099499 Connector S7 131 ~ | 1
404 |  |  |  | 25746-14-09-0004 | 9116X0079 Switch ~ | 1
405 |  |  |  | 25726-19-07-0012 | Service charges (towards programming of VDU KP900 configured ~ | 1
406 |  |  |  | 25746-19-07-0021 | 11276910 Safety actuator PSEN cs3.1 1 ~ | 1
407 |  | RACK-4 | 1 |  | 224884 Female Connectors(Pepperal &Focus) | 10
408 |  |  |  |  | Terminal Connectors | 15
409 |  |  |  |  | Earth Terminal Connector | 2
410 |  |  |  |  | Terminal Connectors Bridge | 4
411 |  |  | 2 | 25746-19-07-0022 | TK7800458 Proximity Switch NBN25_30GM50- ~ | 1
412 |  | RACK-5 | 1 | 25660-14-04-0010 | Switch 211000150 ~ | 1
413 |  |  |  |  | RTD Heat Resistance Cable 3core (100m) | 1
414 |  |  |  | 25746-14-09-0007 | 10487520 Level switch _ABZMS-41-1X/0500/M2/DC-K2 ~ | 1
415 |  |  |  | 25726-15-06-0002 | level sensor rod 855 mm assy ~ 10281774 | 1
416 |  |  |  | 25746-19-06-0005 |  | 1
417 |  |  |  |  | Heater Bamd | 3

## 35
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
313 | 35(DISA MATCH) | RACK-1 | 1 | 25726-15-03-0001 | Kinetix 300 Servo Drive | 1
314 |  |  | 2 | 25726-15-02-0021 | POINT I/O 4 Point Digital Input Module | 13
315 |  |  |  | 25726-15-02-0022 | POINT I/O 2 Point Digital Output Module | 10
316 |  |  |  | 25726-15-02-0024 | POINT I/O Common Terminal Module | 6
317 |  |  |  | 25726-15-02-0033 | 1734-OB4 AB MAKE 24VDC 4CH SOURCE OUTPUT MODULE | 6
318 |  |  |  | 25726-15-02-0034 | 1734 -OE2V , AB MAKE 24V DC 2 CH ANALOG VOLTAGE OUTPUT MODULE | 3
319 |  |  |  | 25726-15-02-0036 | AB make 1734-OB2EP , 24VDC 2amp 2CH source output electronica | 3
320 |  |  | 3 | 25726-19-07-0068 | 9116X1073 Contact block, Puchbutton ~ | 3
321 |  |  |  | 25726--14-07-0006 | 10093335 - LEVEL SWITCH FOR PN VALVE ~ | 1
322 |  |  |  | 25726-19-07-0065 | 10483377 Mushroom Heads 60mm Green ~ | 1
323 |  |  |  | 25726-19-07-0066 | 9116X1075 Push-button, black, flush ~ | 2
324 |  |  |  | 25726-19-07-0062 | 9116X0084 Switch | 1
325 |  |  |  | 25726-19-07-0061 | 10234798 Switch 3pol 2level | 2
326 |  |  |  | 25726-19-07-0057 | 9116X0080 Switch | 2
327 |  |  |  | 25726-19-07-0063 | 9116X1061 Emergency stop connector | 1
328 |  |  |  | 25726-19-07-0060 | 9116X0093 Switch | 2
329 |  |  |  | 25726-19-07-0067 | 9116X1061 Emergency stop connector ~ | 2
330 |  |  | 4 | 25726-19-07-0018 | 10085627, Connector 4P, M8 Fem angle 10m | 2
331 |  |  |  | 25726-15-06-0013 | 10085639 - CONNECTOR 5P M12 FEMALE STR 10M | 1
332 |  |  |  | 25726-11-02-0012 | 10085639 - Connector 5P M12 fem. str 10m ~ | 1
333 |  |  |  |  | 7000-08101-0311000 | 1
334 |  | RACK-2 | 1 |  | Inductive Proxmitiy Sensor | 2
335 |  |  |  |  | Inductive Proximity Sensor Mounting Plate | 1
336 |  |  | 2 | 25726-15-06-0004 | Angle encoder | 1
337 |  |  |  |  | OLD | 3
338 |  |  | 3 | 25726-19-07-0036 | 10086161 , Press sensor 0-250bar, 4-20mA | 6
339 |  |  | 4 | 25726-14-07-0002 | IFM make, model no -IIS206 , IIKC015BASKG/M/US-104-DRS/2LED , | 3
340 |  |  |  |  | Inductive Proximity Sensor (SS) | 1
341 |  |  |  | 25726-14-07-0004 | Inductive Proximity Sensor | 5
342 |  |  |  |  | Inductive Proximity Sensor 7MM | 2
343 |  | RACK-3 | 1 |  | LVDT-Eye Bolt | 10
344 |  |  |  |  | LVDT-Viber End Cap | 39
345 |  |  | 2 | 25726-15-07-0006 | pressure transmitter | 2
346 |  |  |  | 25726-15-07-0004 | pressure transmitter | 1
347 |  |  |  | 25726-14-06-0002 | pressure switch 0.2 - 2.5 bar ~ item code :- 10334275 | 2
348 |  |  |  |  | PressURE Switch (HITAC Electronics) | 4
349 |  |  | 3 | 25726-15-05-0003 | 10149475, Sensor level insert ~ | 3
350 |  |  | 4 | 25726-19-07-0065 | 10483377 Mushroom Heads 60mm Green ~ | 4
351 |  |  |  | 25726-19-07-0022 | clevis Rod end M6-9107L8247 ~ 10194738 | 2
352 |  | RACK-4 | 1 | 25726-19-05-0006 | Part no - 10085614 , Connector 6P Str Female, ( For Mold pus ~ | 2
353 |  |  |  | 25726-19-07-0050 | 10085638 - CONNECTOR 4P M12 FEMALE MOSA ~ | 4
354 |  |  |  | 25726-19-05-0010 | 10083658 - Cable gland M10 4-6mm | 5
355 |  |  |  | 25726-11-02-0015 | 10085638 - Connector 4P M12 female MOSA ~ | 1
356 |  |  |  | 25726-19-05-0004 | 10085680, Crimp pin 0.5,,2 female ~ | 12
357 |  |  |  | 25726-19-07-0043 | PART NO 10023531, SCREW M8 x 20 -8.8ZN ISO4762 ~ | 8
358 |  |  |  | 25726-15-05-0002 | 10085604, Connector 2P+PE form A 24VDC B ( Solenoid coil conn | 5
359 |  |  |  | 25726-19-05-0002 | 10179571, Connector 5P Female M12 angle ~ | 4
360 |  |  |  | 25726-19-05-0005 | 10085681, Crimp pin 0.5,,2 Male ~ | 10
361 |  |  |  | 25726-15-05-0004 | 10085570, Connector 7P Male + Housing ( used in SSU unit ) ~ | 1
362 |  |  |  | 25726-19-05-0054 |  | 4
363 |  |  |  |  | red Socket M20-BG13.5 (10083607) | 1
364 |  |  |  | 25726-15-05-0005 | 10085571, Connector 7P Female + Housing ( used in SSU unit ) ~ | 1
365 |  |  | 2 | 25726-19-07-0027 | FLOAT SWITCH (PROBE LENGTH-150MM) ¾" THREAD (FOR DIESEL LOW ~ | 1
366 |  |  |  | 25726-19-07-0049 | Part no - 2670B2300 , DISTANCE PIECE ~ | 2
367 |  |  | 3 | 25728-15-02-0001 | 750-338 wago plc ~ can open-baud rate=10kbd-1mbd | 1
368 |  |  | 4 | 25726-19-07-0044 | PART NO 10161511 - BRACKET [ SWING ENERGY CHAIN MOUNTING PUR ~ | 2
369 |  |  |  | 25726-19-07-0037 | 10167842 - Bracket , DMM energichain m. frame ( DMM swing d ~ | 4
370 |  |  |  | 25726-19-07-0045 | PART NO 10167842, BRACKET E.CHAIN MAIN FRAME ~ | 4
371 |  | RACK-5 |  | 25726-17-02-0001 | 3 phase motor 0.25kw ~ item code :- 10329467 | 1
372 |  |  |  | 25726-15-03-0002 | MP-Series MPM 480V AC Rotary SER MTR ~ MPM-B1152C-MJ74AA | 1
373 |  |  |  | 25726-15-08-0001 | PART NO 10809738 , KIT VDU KP900 MATCH SMALL AND MEDIUM [ 11 ~ | 1
374 |  |  |  |  | SICK C4000 | 2

## 34
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
278 | 34(DISA MATCH) | RACK-1 | 1 | 25726-15-02-0006 | CompactLogix Power Supply | 1
279 |  |  |  | 25726-15-02-0013 | CompactLogix Power Supply | 1
280 |  |  | 2 | 25726-15-05-0001 | SMPS input 3x400-500v ac 50 hz O/P-24v dc 40A - order no - 28 | 1
281 |  |  | 3 | 25726-15-02-0038 | Part no - TK7825001 ETHERNET SWITCH 5 PORT, 24VDC | 1
282 |  |  | 4 |  | ewon x005CD | 1
283 |  | RACK-2 | 1 | 25726-15-02-0027 | Part no - 10298884, PLC CPU Compact logix L33ER USB ~ ( old name - 2MB memory controller ) | 1
284 |  |  | 2 | 25726-15-02-0030 | 10125658 - Safety relay programable 8I/4O ( SICK safety XTIO | 3
[5 empty] | FX0-GENT00000 | 1
285 |  |  |  | 25726-15-07-0008 | E&H MAKE , ELECTROIC FEI 53 , 3-12V SIGNAL, 3 WIRE, ORDER C ~ | 2
286 |  |  | 3 | 25726-15-02-0023 | POINT I/O Extension Power Module | 1
287 |  |  |  | 25726-15-02-0002 | CompactLogix 16 Point D/I Module | 1
288 |  |  |  | 25726-15-02-0003 | CompactLogix 32 Point D/I Module | 1
289 |  |  | 4 | 25726-15-02-0025 | Output module | 3
290 |  | RACK-3 | 1 | 25726-15-02-0004 | CompactLogix 16 Point D/O Module | 2
291 |  |  | 2 | 25726-15-02-0037 | Part no 10111733 - Compact End CAP terminator | 1
292 |  |  |  | 25726-15-02-0007 | CompactLogix End Cap | 1
293 |  |  | 3 | 25726-15-02-0010 | CompactLogix 32 Point D/I Module | 1
294 |  |  |  | 25726-15-02-0023 | POINT I/O Extension Power Module | 2
295 |  |  | 4 | 25726-15-02-0005 | CompactLogix 6 Point Analog Comb Module ~ 1769IF4FXOF2F | 3
296 |  | RACK-4 | 1 | 25726-15-02-0009 | CompactLogix 1.5MB Controller ~ 1769L35E | 1
297 |  |  | 2 | 25726-15-02-0041 | AB MAKE 1734-AENTR 2 PORT ETHERNET / IP ADAPTER MODULE | 1
298 |  |  |  | 25726-15-02-0020 | POINT I/O Dual Port Network Adaptor | 1
299 |  |  | 3 | 25726-15-02-0011 | CompactLogix 32 Point D/O Module ~ 1769OB32 | 1
300 |  |  | 4 | 25726-05-02-0012 |  | 1
301 |  | RACK-5 | 1 | 25726-15-02-0008 | Stratix 2000 Unmanaged Switches | 1
302 |  |  |  | 25726-15-02-0016 | SLC 16 Point DC Output Module | 1
303 |  |  |  | 25726-15-02-0017 | SLC Fast Response Combination Module | 1
304 |  |  |  | 25726-15-02-0018 | SLC 4 Point Analog Input Module | 1
305 |  |  | 2 | 25726-15-02-0019 | SLC Rack Mounting Power Supply | 1
306 |  |  |  | 25726-15-02-0014 | SLC 5/03 16K Controller | 1
307 |  |  |  | 25726-15-02-0015 | SLC 16 Point DC Input Module | 1
308 |  |  | 3 | 25726-15-01-0001 | Servo card VT-VRRA 1-537-20/V0 - part no 10154841 ( for Disa | 2
309 |  |  | 4 |  | FX0-GENT00000 | 1
310 |  |  |  | 25726-15-02-0030 | 10125658 - Safety relay programable 8I/4O ( SICK safety XTIO | 7
311 |  |  |  |  | FX3-CPU000000 | 2
312 |  |  |  | 25726-15-07-0008 | E&H MAKE , ELECTROIC FEI 53 , 3-12V SIGNAL, 3 WIRE, ORDER C ~ | 2

## 33
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
251 | 33(DISA MATCH) | RACK-1 | 1 | 25726-12-1-0008 |  | 2
252 |  |  | 2 |  | 9-12.5 MPCB (Siemens) | 1
253 |  |  | 3 |  | ZFT063 | 1
254 |  |  | 4 | 25726-12-03-0003 | SIEMENS MAKE 4A DP MCB | 1
255 |  |  |  | 25726-12-03-0001 | SIEMENS MAKE 2A SP MCB ~ | 2
256 |  | RACK-2 | 1 |  | Phenix Contact 24V Relay Base | 26
257 |  |  |  |  | Phenix Contact 24V Relay (order No.2961192) | 30
258 |  |  |  | 25726-19-07-0028 | Phenix Contact 24V Relay (order No.2961105) | 10
259 |  |  | 2 | 25726-13-02-0015 | SIEMENS MAKE 3RT2016 - 1KB42, Power contactor, AC-3 9 A, 4 k ~ | 5
260 |  |  | 3 | 25660-13-02-0005 | SIEMENS MAKE , CONTACTOR RELAY 24V DC, 2NO+2NC , SIZE S00, S ~ | 8
261 |  |  | 4 | 25726-13-02-0004 | CONTACTOR TC1 D18 01(110V) ~ TC1 D18 | 3
262 |  | RACK-3 | 1 | 25760-13-02-0008 |  | 3
264 |  |  | 2 | 102488301 | Aux.Switch Block | 9
265 |  |  | 3 | 25726-13-01-0002 | siemens 3RT2026 -1BB40 Power contactor, AC-3 25 A, 11 kW / 4 ~ | 5
266 |  |  | 4 | 25726-13-02-0010 | Schneider make , LC1D09 BD 24V DC Contactor ~ | 5
267 |  | RACK-4 | 1 | 25726-13-02-0011 | Schneider make , LC1D12 BD 24V DC Contactor ~ | 1
268 |  |  | 2 | 257226-13-02-0013 |  | 2
269 |  |  | 3 | 25726-13-02-0012 | Schneider make , LC1D25 BD 24V DC Contactor ~ | 2
270 |  |  | 4 |  | 2.5-4 MPCB (Schneider) | 2
271 |  | RACK-5 | 1 |  | LADN22 | 2
272 |  |  |  | 25660-13-02-0007 | SIEMENS MAKE POWER CONTACTOR, AC-3 50 A, 22 kW / 400 V 1 NO ~ | 2
273 |  |  |  | 25660-19-07-0004 | SOFT STARTER ~ 3RW3017-1BB14 | 1
274 |  |  | 2 | 25726-15-07-0001 | Surge protection device | 2
275 |  |  |  |  | 3RT2023-1AC20 (SIEMENS) | 2
276 |  |  | 3 |  | 13-18 MPCB (schenider) | 3
277 |  |  | 4 |  | Disa Match Selector Switches | Not Separate

## 59
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
218 | 59 (FURNACE) | RACK-1 | 1 | 25600-13-03-0002 | CONTACTOR - PHOENIX ~ FECO 1038 - PHOENIX CONTACT | 5
219 |  |  |  | 25600-19-07-0107 | Meco make Analog Voltmeter ( 0 - 750V AC ) ~ MLC 96 | 2
220 |  |  | 2 | 25747-19-07-0045 | FECO002801Power Cord (Butterfly) for Monitor : MAKE - ADVANT ~ | 2
221 |  |  |  | 25747-19-07-0046 | FECO002603TOUCHSCREEN CABLE DB9/9P 1.8M Male-Female $FEC0002 ~ | 1
222 |  |  | 3 | NIL | RELAY BASE | 6
223 |  |  | 4 | NIL | PHOENIX CONTACT ISOLATING AMPLIFIER | 9
224 |  |  |  | NIL | ISOLATING CONVETORS | 2
225 |  | RACK-2 | 1 | 25600-15-07-0032 | GLD OPTO BRIDGE MOD. | 1
226 |  |  |  | 25600-15-07-0030 | SCR DUAL FIRING MODULE | 1
227 |  |  | 2 | 25600-15-07-0046 | SCR/DIODE CLAMP ASSY 8.25" STUD 5000LBS | 4
228 |  |  | 3 | NIL | 10A LIMIT SWITCH | 8
229 |  |  |  | NIL | 6A TOGGLE SWITCH | 5
230 |  |  | 4 | 25600-19-07-0005 | KILOWATTS METER ~ FMET0152 | 4
231 |  |  | 1 | 25600-19-07-0228 | FIMP005018 - CAPACITOR 20 MFD 660 VAC 168-3428/806517 | 6
232 |  | RACK-3 | 2 | 25600-19-07-0231 | FTRA002037 CVT 12 VA 115/50 V FOR 50HZ - CE APPROVED | 3
233 |  |  | 3 | 25600-19-07-0226 | FTRA002075 - TRANSFORMER 8VA,0-415-460-575PR/ 0-110 S - CE TR | 2
234 |  |  | 4 | NIL | 50VA TRANSFORMER | 1
235 |  |  |  | NIL | FTRA1004
236 |  | RACK-4 | 1 | NIL | ACI MODULE FMOD6252 | 1
237 |  |  |  | 25600-13-03-0004 | FMOD 6401 - PCB ASSY FOR VOLTS FREE CONTACT BOARD | 1
238 |  |  | 2 | 25600-15-07-0021 | ACI MODULE ~ FMOD6251 | 1
239 |  |  | 3 | 25600-15-07-0031 | ACI X-MER PULSE MOD. | 2
240 |  |  | 4 | 25600-15-07-0005 | INDUCTO HIGH PERFORMA CAPACITOR IR- EA ~ FCAP 3198 | 1
241 |  | RACK-5 | 1 | NIL | LOAD CELL | 1
242 |  |  |  | NIL | INDUCTO THERM NAME PLATE | 1
243 |  |  | 2 | 25600-19-07-0283 | FZSE 000027 - L CLAMP INV WITH PLATING FOR SCR | 4
244 |  |  |  | NIL | F2SE000002 | 8
245 |  |  | 3 | 25600-19-07-0016 | SCR BASE PLATE | 4
246 |  |  | 4 | 25600-19-07-0026 | CHILL BLOCK | 4
247 |  | RACK-6 |  | 25600-15-07-0046 | SCR/DIODE CLAMP ASSY 8.25" STUD 5000LBS | 1
248 |  |  |  | 25600-19-07-0083 | SCR Clamp Assy - 10000 LBS W/10.5" STUD | 1
249 |  |  |  | 25600-19-07-0318 | ITEM CODE:- FSER002031-VE DC CU LINK FOR INT ARR-D03494 | 1
250 |  |  |  | NIL | BUS BAR | 1

## 58
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
187 | 58 (FURNACE) | RACK-1 | 1 | 25600-15-07-0011 | DIODE (SNUBBER) 100A 1300V 147 - 2179 -9 EA ~ FIMP0172
188 |  |  |  | 25600-15-07-0012 | DIODE (SNUBBER) 100A 1300V 147 - 2180 -7 EA ~ FIMP5192
189 |  |  | 2 | NIL | MASS GAUGE | 1
190 |  |  |  | NIL | TEMPERATURE GAUGE | 4
191 |  |  | 3 | NIL | ZENOR DIODE | 2
192 |  |  |  | NIL | FDEV000181 | 2
193 |  |  | 4 | NIL | LUGS
194 |  | RACK-2 | 1 | 25600-19-07-0318 | ITEM CODE:- FSER002031-VE DC CU LINK FOR INT ARR-D03494 | 8
195 |  |  |  | 25600-19-07-0278 | FC0M000506-HEAT SINK COMPOUND ~ | 1
196 |  |  | 2 | 25600-15-06-0001 | POTENTIAL SENSOR | 5
197 |  |  | 3 | 25600-19-07-0280 | FHSP000224-PROTECTIVE CAP FOR SEMICONDUCTOR ASSY | 2
198 |  |  |  | 25600-19-07-0043 | 3/8" x 3/4" brass bolt ~ furnace brass bolt | 1
199 |  |  | 4 | NIL | POTENTIO METER 5KΩ | 15
200 |  |  |  | NIL | POTENTIO METER 10KΩ | 8
201 |  |  |  | NIL | KV1031S28 2219 | 6
202 |  | RACK-3 | 1 | 25600-15-07-0035 | DIODE ~ FIMP5193 | 1
203 |  |  | 2 | 25600-15-07-0014 | DIODE ~ FIMP5021 | 1
204 |  |  | 3 | 25600-15-07-0014 | DIODE ~ FIMP5021 | 1
205 |  |  | 4 | 25600-19-07-0276 | FIMP005164-INDUCTO HIGH PERFORMA DIODE 147-2181-PE | 1
206 |  | RACK-4 | 1 | 25600-15-07-0037 | CONVERTER SCR | 4
207 |  |  | 2 | 25600-15-07-0039 | CONVERTOR SCR FIMP 5166 | 3
208 |  |  | 3 | 25600-15-07-0039 | CONVERTOR SCR FIMP 5166 | 3
209 |  |  | 4 | 25600-19-07-0276 | FIMP005164-INDUCTO HIGH PERFORMA DIODE 147-2181-PE | 1
210 |  | RACK-5 | 1 | NIL | FMOD 5047 | 2
211 |  |  | 2 | NIL | HYDAULIC VALVE(NV-16*3/4" PRE350 BAR) | 1
212 |  |  | 3 | NIL | TEMPERATURE SENSOR | 7
213 |  |  | 4 | 25600-19-07-0225 | FCAP004002 - CAPACITOR 8 MF 440 VAC | 14
214 |  | RACK-6 | 1 | 25600-19-03-0003 | CURRENT TRANSFORMER | 1
215 |  |  | 2 | 25600-19-03-0001 | CONTROL TRANSFORMER ~ 700/415v ac - 75va | 1
216 |  |  | 3 | 25600-19-03-0005 | TRANSFORMER ~ FTRA 2045 | 1
217 |  |  | 4 | 25600-19-03-0002 | CURRENT TRANSFORMER ~ | 5

## 57
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
162 | 57 (FURNACE) | RACK-1 | 1 | 25600-15-07-0023 | CAPACITOR | 5
163 |  |  | 2 | 25600-19-07-0202 | FMOD006203, Power controller card | 3
164 |  |  | 3 | NIL | CAP | 7
165 |  |  | 4 | 25600-15-07-0029 | SCR FIRING MODULE | 1
166 |  | RACK-2 | 1 | 25600-15-07-0029 | SCR FIRING MODULE | 1
167 |  |  | 2 | 25600-15-07-0029 | SCR FIRING MODULE | 1
168 |  |  | 3 | 25600-15-07-0029 | SCR FIRING MODULE | 1
169 |  |  | 4 | 25600-15-07-0029 | SCR FIRING MODULE | 1
170 |  | RACK-3 | 1 | 25600-19-07-0276 | FIMP005164-INDUCTO HIGH PERFORMA DIODE 147-2181-PE | 8
171 |  |  | 2 | 25600-15-07-0047 |  | 9
172 |  |  |  | 25600-19-07-0223 | FCAP004044 - CAPACITOR 4 µF 440 VAC. | 12
173 |  |  | 3 | 25600-15-07-0019 | POTENTIOL SENSOR | 2
174 |  |  | 4 | 25600-15-03-0003 | MODULE FMOD 5047 | 3
175 |  | RACK-4 | 1 | 25600-19-07-0229 | FTRA002076 CVT.XMER 100VA,110V PR 36V SEC.(50HZ) | 1
176 |  |  | 2 | 25600-15-07-0033 | ACI MODULE. | 1
177 |  |  | 3 | 25600-15-07-0033 | ACI MODULE. | 1
178 |  |  | 4 | 25600-15-07-0033 | ACI MODULE. | 1
179 |  | RACK-5 | 1 | 25600-15-09-0006 | SCR firing module | 1
180 |  |  | 2 | 25600-15-09-0006 | SCR firing module | 1
181 |  |  | 3 | 25600-19-07-0230 | FTRA002078 - CVT.XMER 50VA,110V PR/110V SEC.50HZ | 1
182 |  |  | 4 | 25600-19-07-0230 | FTRA002078 - CVT.XMER 50VA,110V PR/110V SEC.50HZ | 1
183 |  | RACK-6 | 1 | 25600-19-07-0229 | FTRA002076 CVT.XMER 100VA,110V PR 36V SEC.(50HZ) | 1
184 |  |  | 2 | 25600-19-07-0229 | FTRA002076 CVT.XMER 100VA,110V PR 36V SEC.(50HZ) | 1
185 |  |  | 3 | 25600-15-07-0051 | FMOD 5864 ~ ACI PULSE XMER MODULE | 2
186 |  |  | 4 | 25600-15-07-0051 | FMOD 5864 ~ ACI PULSE XMER MODULE | 2

## 56
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
136 | 56 (FURNACE) | RACK-1 |  | 25600-15-08-0003 | Z Monitor REV6A For Imported unit / MeltMG - FMOD5503 | 3
137 |  |  |  | 25600-15-04-0001 | FMOD 5609 - Z CONTROL BOARD REV 8A FOR 60HZ TO 1200HZ | 3
138 |  | RACK-2 | 1 | 25600-15-07-0045 | GFL Resistor - 12 Ohm, 300W | 1
139 |  |  | 2 | 25600-15-07-0045 | GFL Resistor - 12 Ohm, 300W | 1
140 |  |  | 3 | 25600-15-07-0045 | GFL Resistor - 12 Ohm, 300W | 1
141 |  |  | 4 |  | A32410F1 | 4
142 |  | RACK-3 | 1 | 25600-15-06-0002 | GROUND LEAK DETECTOR | 2
143 |  |  | 2 | 25600-15-06-0002 | GROUND LEAK DETECTOR | 2
144 |  |  | 3 | 25600-15-06-0004 | TEMPERATURE CONTROLLER ~ DTC303 | 2
145 |  |  | 4 | 25600-15-06-0004 | TEMPERATURE CONTROLLER ~ DTC303 | 2
146 |  | RACK-4 | 1 | 25600-15-03-0002 | MODULE FMOD 6152 | 5
147 |  |  | 2 | 25600-15-09-0005 | OPTO BRIDGE MODULE FMOD 5629 | 4
148 |  |  | 3 | 25600-19-07-0295 | ITM CODE- FMET001052-TEMPERATURE SWITCH MSP-95 EQV FMET1070 | 8
149 |  |  | 4 | 25600-12-04-0002 | FMET 1070 , TEMP SWITCH , HONEYWELL L6190B 2022U001 | 3
150 |  | RACK-5 | 1 | 25600-19-07-0224 | FECO002116 - DC POWER SUPPLY 24V DC 5AMP PHOENIX ( Phoenix or | 2
151 |  |  | 2 | 25600-12-02-0004 | fuse 600VAC URD 1500A - A060UD33LI1500 | 10
152 |  |  | 3 | 25600-19-07-0049 |  | 3
153 |  |  |  | 25600-19-07-0042 |  | 5
154 |  |  |  | 25600-19-07-0240 | FCAP003202 INDUCTO HIGH PERFORMANCE AC CAP 202MFD IR-47 WITH | 5
155 |  |  | 4 | 25600-15-07-0025 | RESISTOR 1E 100W | 4
156 |  |  |  | 25600-15-07-0026 | RESISTOR 4E 250W | 4
157 |  |  |  | 25600-15-09-0002 | RESISITOR 1K25W | 1
158 |  |  |  | Nil | 50W 205KΩ RESITOR | 8
159 |  | RACK-6 |  |  | ADVANTECH INDUSTRIAL PC | 1
160 |  |  |  | 25600-15-06-0016 | FTEM000949 - RESIS.ASSY DOUBLE.(100O) FOR PULKIT | 2
161 |  |  |  | 25600-15-07-0034 | RESISTOR | 3

## 55
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
115 | 55 (CORE SHOP) | RACK -1 | 1 | Nil | PARA MOUNT 8 Channel relay with Base | 8
116 |  |  | 2 | Nil | Hyd. Solinoide coil connectors | 11
117 |  |  | 3 | Nil | pneumatic coil 24 v DC | 10
118 |  |  |  | Nil | pneumatic coil 220 V AC | 13
119 |  |  |  | Nil | pneumatic coil 110 AC | 8
120 |  | RACK -2 | 1 | Nil | SSR Relay 24 V DC | 56
121 |  |  |  | Nil | P1-FP 230 V | 14
122 |  |  |  | Nil | P1-FPZ 24 VDC | 7
123 |  |  |  | Nil | Phonix relay with base mounting | 1
124 |  |  | 2 | Nil | Omaron Glass Relay | 50
125 |  |  | 3 | Nil | M18 Inductive proxmity sensor | 9
126 |  | RACK -3 | 1 | Nil | P&F Square type Sensor | 5
127 |  |  |  | 25745-19-17-0006 |  | 4
128 |  |  | 2 | Nil | Inductive Proxmitiy switch square type | 3
129 |  |  | 3 | NO- TYPE | Capacitive proximity sensor | 1
130 |  |  |  | NC- TYPE |  | 2
131 |  | RACK-4 | 1 | Nil | Sand hopper level sensor | 1
132 |  |  | 2 | Nil | P& F Connector | 13
133 |  |  |  | Nil | P&F Mounting | 3
134 |  |  | 3 | 25720-15-08-0004 | 4 Pin Male Connector With 3 Mtr cable | 1
135 |  | RACK-5 |  | Nil | Addmidence relay ( Old Spare) | 1

## 54
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
79 | 54 (CORE SHOP) | RACK -1 | 1 | 25720-19-07-0013 | SMPS 40 A | 1
80 |  |  | 2 | Nil | PRESSURE Switch (0-250 Bar) | 2
81 |  |  |  | DOLD | Saftey Module | 1
82 |  |  |  | NETZ |  | 1
83 |  |  | 3 | Naveen Electrical | Transformer - 1KVA (420-240V) | 1
84 |  | RACK -2 | 1 | Nil | Thermax Electrode | 3
85 |  |  |  | Nil | A84 Rotary connector ( New rotary ) | 1
86 |  |  | 2 | GBNA-22013 | SSR Relay | 8
87 |  |  | 3 | 25720-15-06-0005 | Thermo stat | 2
88 |  |  |  | 25720-15-06-0001 | Flow Switch | 1
89 |  |  |  | Nil | Phase Sequence Relay | 1
90 |  | RACK-3 |  | 25720-19-05-0001 | M12 5 Pin connector | 1
91 |  |  |  | 25720-19-05-0009 | Sensor connector | 1
92 |  |  |  | 25720-15-02-0002 | Inter face suspensor module | 1
93 |  |  |  | 25720-15-07-0002 | Actuator | 1
94 |  |  |  | 25720-15-07-0001 | Saftey Switch | 1
95 |  |  |  | 25720-15-04-0001 | Lock Pin | 1
96 |  |  |  | 25720-15-03-0003 | CPU | 4
97 |  |  |  | STOP PSE 000V | Selectivity Module | 1
98 |  |  |  | 25720-15-02-0001 | Anlogue Data Repeter | 1
99 |  |  |  | 25720-15-03-0001 | Saftey Relay | 1
100 |  |  |  | X20 PS 9400 | Module's | 3
101 |  |  |  | X20 BT 9400 |  | 2
102 |  |  |  | X20 AO 2622 |  | 1
103 |  |  |  | 6E S7 131-4BF00-0AA0 | DI Module | 1
104 |  |  |  | Nil | 5 Pin Male Connector With 10 Mtr cable | 1
105 |  |  |  | Nil | 5 Pin Male Connector With 3 Mtr cable | 3
106 |  |  |  | 25720-14-07-0006 | Magneti reed switck | 2
107 |  |  |  | Nil | Temperature sensor | 2
108 |  | RACK-4 | 1 | 25720-15-08-0001 | Spiliter box | 3
109 |  |  | 2 | 25720-15-08-0005 |  | 1
110 |  |  | 3 | 25720-15-08-0002 |  | 5
111 |  | RACK-5 | Nil | 455 MM | HEATER COIL | 4
112 |  |  | Nil | 300 MM |  | 1
113 |  |  | Nil | 620 MM |  | 2
114 |  |  | Nil | 730 MM |  | 1

## 53
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
61 | 53(CONTACTOR) | RACK-1 | 1 | 25660-12-01-0002 | 18-25A OVER LOAD RELAY (SIEMENS) | 1
62 |  |  |  | Nil | 16A DC CONTACTOR RELAY (SIEMENS) | 2
63 |  |  | 2 | Nil | 3RT2016-1BB41 (SIEMENS) | 1
64 |  |  |  | Nil | 3RT2016-1BB42 (SIEMENS) | 2
65 |  |  | 3 | Nil | 3RT2023-1AC20 (SIEMENS) | 2
66 |  |  | 4 | Nil | 3RT2023-1AG20 (SIEMENS) | 2
67 |  | RACK-2 | 1 | Nil | 3TF30 ZFE73 19A CONTACTOR (SIEMENS) | 5
68 |  |  | 2 | Nil | 3TF31 ZFE73 12A CONTACTOR (SIEMENS) | 3
69 |  |  | 3 | Nil | 3TF32 ZFE73 16A CONTACTOR (SIEMENS) | 8
70 |  |  | 4 | Nil | 3TF43 ZFE75 32A CONTACTOR (SIEMENS) | 8
71 |  | RACK-3 | 1 | Nil | 3TF43 ZFE75 32A CONTACTOR (SIEMENS) | 6
72 |  |  | 2 | 25501-13-01-0001 | 38A CONTACTOR (SIEMENS) | 7
73 |  |  | 3 | Nil | 3RT2038 CONTACTOR (SIEMENS) | 3
74 |  | RACK-4 | 1 | Nil | AUXILIRAY SWITCH BLOCK | 11
75 |  |  | 2 | Nil | AUXILIRAY SWITCH BLOCK | 34
76 |  |  | 3 | Nil | AUXILIRAY CONTACT BLOCK | 85
77 |  |  | 4 | Nil | 3TH42-0AG2 CONTACTOR (SIEMENS) | 2
78 |  |  |  |  | 3RT2016-2AD02 CONTACTOR (SIEMENS) | 3

## 52
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
56 | 52 (CONTACTOR) | RACK-1 |  | ZFE077 | 63A CONTACTOR (SIEMENS) | 6
57 |  |  |  | Nil | 90A DC CONTACTOR (SIEMENS) | 3
58 |  | RACK-2 |  | Nil | 3TF46 ZFE009 45A CONTACTOR (SIEMENS) | 15
59 |  | RACK-3 |  | Nil | 3TF48 ZFE010 75A CONTACTOR (SIEMENS) | 18
60 |  | RACK-4 |  | Nil | 3TF50 ZFE011 160A CONTACTOR (SIEMENS) | 10
|  | RACK-5 |  | 25653-13-01-0009 | CONTACTOR 3TF 57 ~ 3TF 57 | 2

## 51
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
43 | 51 (MCB) | RACK-1 | 1 | Nil | 1P-1A MCB (LEGRAND) | 1
44 |  |  | 2 | Nil | 1P-6A MCB (LEGRAND) | 18
45 |  |  | 3 | Nil | 1P-16A MCB (LEGRAND) | 2
46 |  |  | 4 | Nil | 1P-25A MCB (LEGRAND) | 2
47 |  | RACK-2 | 1 | Nil | 2P-6A MCB (LEGRAND) | 2
48 |  |  | 2 | Nil | 2P-16A MCB (LEGRAND) | 1
49 |  |  | 3 | Nil | 2P-25A MCB (LEGRAND) | 5
50 |  |  | 4 | Nil | 2P-40A MCB (LEGRAND) | 2
51 |  | RACK-3 | 1 | Nil | 3P-6A MCB (LEGRAND) | 1
52 |  |  | 2 | Nil | 3P-10A MCB (LEGRAND) | 0
53 |  |  | 3 | Nil | 3P-16A MCB (LEGRAND) | 1
54 |  |  | 4 | Nil | 3P-32A MCB (LEGRAND) | 8
55 |  | RACK-4 | 1 | Nil | 3P-32A MCB (LEGRAND) | 8

## 50
Bero Spares
S.No | Bero/Rack Number | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
25 | 50 (MPCB) | RACK-1 | 1 | Nil | 1.6-2.6 | 5
26 |  |  | 2 | Nil | 2.5-4 | 0
27 |  |  | 3 | Nil | 4-6 MPCB (schenider) | 1
28 |  |  | 4 | Nil | 4-6.3 MPCB (schenider) | 10
29 |  | RACK-2 | 1 | Nil | 6-10 MPCB (schenider) | 6
30 |  |  | 2 | Nil | 9-14 MPCB (schenider) | 17
31 |  |  | 3 | Nil | 13-18 MPCB (schenider) | 17
32 |  |  | 4 | Nil | 17-23 MPCB (schenider) | 2
33 |  | RACK-3 | 1 | Nil | 20-25 MPCB (schenider) | 3
34 |  |  | 2 | Nil | 24-32 MPCB (schenider) | 1
35 |  |  | 3 | Nil | 4-6.3 MPCB (L&T) | 3
36 |  |  | 4 | Nil | 6.3-10 MPCB (L&T) | 9
37 |  | RACK-4 | 1 | Nil | 16-22 MPCB (SIEMENS) | 2
38 |  |  | 2 | Nil | 22 MPCB (SIEMENS) | 1
39 |  |  | 3 | Nil | 17-22 MPCB (SIEMENS) | 2
40 |  |  | 4 | Nil | 35-45 MPCB (SIEMENS) | 1
41 |  | RACK-5 | 1 | Nil | 28 - 32 MPCB (SIEMENS) | 1
42 |  |  | 2 | Nil | 22-32 MPCB (SIEMENS) | 2

## 74
Bero Spares
S.No | Bero | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
276 | 74 | 1 | 1 | 20998-01-02-0056
277 |  |  | 2 |  | UCP
278 |  |  | 3 |  | UCT212
279 |  |  | 4 |  | UCT212
280 |  | 2 | 1 |  | UCF212
281 |  |  | 2 | 20998-01-29-0021
282 |  |  | 3 |  | UCT312
283 |  |  | 4 |  | UCT313
284 |  | 3 | 1 |  | UC310
285 |  |  | 2 |  | H309 SLEEVE
286 |  |  | 3 |  | H310
287 |  |  | 4 |  | H311
288 |  | 4 | 1 |  | H315
289 |  |  | 2 |  | H316
290 |  |  | 3 |  | H317
291 |  |  | 4 |  | H319
292 |  | 5 | 1 |  | H2316
293 |  |  | 2 |  | H322
294 |  |  | 3 |  | H3214
295 |  |  | 4 |  | H320
296 |  | 6 | 1
297 |  |  | 2
298 |  |  | 3
299 |  |  | 4

## 73
Bero Spares
S.No | Bero | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
252 | 73 | 1 | 1 |  | NJ2206ECP
253 |  |  | 2 |  | 2208-2RS
254 |  |  | 3 |  | 2209-EKTN9
255 |  |  | 4 |  | 2210-EKTN9
256 |  | 2 | 1 | 20998-01-02-0029
257 |  |  | 2 | 20998-01-02-0035
258 |  |  | 3 | 20998-01-02-0013
259 |  |  | 4 |  | 22312E
260 |  | 3 | 1 |  | 22316
261 |  |  | 2 |  | 22208
262 |  |  | 3 | 20998-01-02-0004
263 |  |  | 4 | 20998-01-02-0046
264 |  | 4 | 1 | 20998-01-02-0019
265 |  |  | 2 | 20998-01-11-0035
266 |  |  | 3 | 20998-01-02-0030
267 |  |  | 4 |  | 22220
268 |  | 5 | 1 | 20998-01-02-0008
269 |  |  | 2 |  | 51109
270 |  |  | 3 |  | 51209
271 |  |  | 4 |  | 51116
272 |  | 6 | 1 |  | NU2309ECP
273 |  |  | 2 |  | NJ2208FCP
274 |  |  | 3
275 |  |  | 4

## 72
Bero Spares
S.No | Bero | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
228 | 72 | 1 | 1 | 20998-01-29-0050
229 |  |  | 2 |  | UCP 206
230 |  |  | 3 | 20998-01-29-0049
231 |  |  | 4 |  | UCTC 206
232 |  | 2 | 1 | 20998-01-29-0078
233 |  |  | 2 | 20998-01-29-0005
234 |  |  | 3 |  | UC F207
235 |  |  | 4 |  | UCT 207
236 |  | 3 | 1 | 20998-01-29-0040
237 |  |  | 2 | 20998-01-29-0011
238 |  |  | 3 | 20998-01-29-0094
239 |  |  | 4 | 20998-01-29-0057
240 |  | 4 | 1 | 20998-01-29-0054
241 |  |  | 2 |  | UCFC 209
242 |  |  | 3 | 20998-01-29-0054
243 |  |  | 4 |  | UCT 209
244 |  | 5 | 1 | 20998-01-29-0056
245 |  |  | 2 | 20998-01-29-0056
246 |  |  | 3 | 20998-01-29-0095
247 |  |  | 4 | 20998-01-29-0014
248 |  | 6 | 1 | 20998-01-02-0015
249 |  |  | 2 | 20998-01-29-0027
250 |  |  | 3 |  | UCF 211
251 |  |  | 4 | 20998-01-29-0098

## 71
Bero Spares
S.No | Bero | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
204 | 71 | RACK-1 | 1 |  | 30205J2/Q | 2
205 |  |  | 2 | 20998-01-12-0074
206 |  |  | 3 | 20998-01-12-0072
207 |  |  | 4 | 20998-01-12-0041
208 |  | RACK-2 | 1 | 20998-01-12-0021
209 |  |  | 2 | 20998-01-12-0042
210 |  |  | 3 | 20998-01-12-0051
211 |  |  | 4 | 20998-01-12-0022
212 |  | RACK-3 | 1 | 20998-01-12-0029
213 |  |  | 2 | 20998-01-12-0046
214 |  |  | 3 | 20998-01-12-0033
215 |  |  | 4 | 25733-01-12-0001
216 |  | RACK-4 | 1 |  | 32007J2/Q
217 |  |  | 2 |  | 32016
218 |  |  | 3 | 20998-01-12-0034
219 |  |  | 4 | 20998-01-12-0045
220 |  | RACK-5 | 1 | 20998-01-12-0078
221 |  |  | 2 | 20998-01-12-0058
222 |  |  | 3 | 20998-01-02-0069
223 |  |  | 4 | 20998-01-08-0006
224 |  | RACK-6 | 1 |  | 3306ATN9
225 |  |  | 2 |  | 3308A
226 |  |  | 3 | 20998-01-15-0001
227 |  |  | 4 | 20998-01-11-0013

## 70
Bero Spares
S.No | Bero | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
180 | 70 | RACK-1 | 1 | 20998-01-01-0172
181 |  |  | 2 | 20998-01-01-0153 | BEARING 6310 -2Z | 1
182 |  |  | 3 | 20998-01-02-0062
183 |  |  | 4 | 20998-01-02-0062
184 |  | RACK-2 | 1 | 20998-01-01-0181
185 |  |  | 2 | 20998-01-01-0178
186 |  |  | 3 | 20998-01-03-0021
187 |  |  | 4 | 20998-01-04-0006
188 |  | RACK-3 | 1 | 20998-01-04-0004
189 |  |  | 2 | 20998-01-12-0071
190 |  |  | 3 | 20998-01-03-0019
191 |  |  | 4 | 20998-01-03-0007
192 |  | RACK-4 | 1 | 20998-01-12-0070
193 |  |  | 2 | 20998-01-04-0007
194 |  |  | 3 | 20998-01-03-0008
195 |  |  | 4 | 20998-01-04-0003
196 |  | RACK-5 | 1 | 20998-01-04-0008
197 |  |  | 2 |  | 1208-EKTN9 | 1
198 |  |  | 3 |  | 1209-EKTN9 | 1
199 |  |  | 4 | 20998-01-02-0010
200 |  | RACK-6 | 1 | 20998-01-02-0022
201 |  |  | 2 | 20998-01-02-0002
202 |  |  | 3 | 20998-01-02-0003
203 |  |  | 4 |  | 62205-2KS1 | 1

## 69
Bero Spares
S.No | Bero | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
156 | 69 | RACK-1 | 1 | 20998-01-11-0046 | 6201 - 2Z SKF INDIA BALL BEARING ~ | 0
157 |  |  | 2 | 20998-01-01-0120 | BEARING- 6202-2Z | 5
158 |  |  | 3 | 20998-01-01-0130 |  | 14
159 |  |  | 4 | 20998-01-01-0081 |  | 1
160 |  | RACK-2 | 1 | 20998-01-01-0047 | BEARING - 6205 2Z ~ | 12
161 |  |  | 2 | 20998-01-01-0133 |  | 40
162 |  |  | 3 | 20998-01-01-0101 | BEARING 6207 2Z | 7
163 |  |  | 4 | 20998-01-01-0046 |  | 9
164 |  | RACK-3 | 1 | 20998-01-01-0126 | Bearing 6209 | 2
165 |  |  | 2 | 20998-01-01-0154 | BEARING 6210 -2Z | 2
166 |  |  | 3 | 20998-01-01-0197 | BEARING 6211 ZZ ~ | 2
167 |  |  | 4 | 20998-01-01-0215 | 6212 - 2Z SKF INDIA BALL BEARING ~ | 4
168 |  | RACK-4 | 1 | 20998-01-02-0063
169 |  |  | 2 | 20998-01-01-0054 | BEARING -6214 | 1
170 |  |  | 3 | 20998-01-01-0103
171 |  |  | 4 | 20998-01-01-0182 | Bearing - 6220 | 2
172 |  | RACK-5 | 1 | 20998-01-01-0192
173 |  |  | 2 | 20998-01-01-0049
174 |  |  | 3 | 20998-01-01-0087 | BEARING 6303 2Z ~ | 4
175 |  |  | 4 | 20998-01-01-0196 | BEARING 6304 ZZ ~ | 4
176 |  | RACK-6 | 1 | 20998-01-01-0082
177 |  |  | 2 | 20998-01-01-0194
178 |  |  | 3 | 20998-01-01-0059
179 |  |  | 4 | 20998-01-01-0204

## 68
Bero Spares
S.No | Bero | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
136 | 68 | RACK-1 | 1 | 20998-01-01-0180 | Bearing- 6000 2z | 0
137 |  |  | 2 | 20998-01-01-0050 | BEARING - 6001 2Z | 2
138 |  |  | 3 | 20998-01-01-0183 | BEARING - 6002 ~ | 2
139 |  |  | 4 | 20998-01-01-0177 | Bearing - 6003 2z | 2
140 |  | RACK-2 | 1 | 20998-01-01-0043 |  | 0
141 |  |  | 2 | 20998-01-01-0151 |  | 12
142 |  |  | 3 | 2099801-11-0044 |  | 10
143 |  |  | 4 | 20998-01-01-0170 |  | 3
144 |  | RACK-3 | 1 | 20998-01-01-0189 |  | 1
145 |  |  | 2 | 20998-01-01-0216 | 6009 2 Z SKF IMPORTED BALL BEARING ~ | 4
146 |  |  | 3 | 20998-01-01-0136 |  | 4
147 |  |  | 4 | 20998-01-01-0202 |  | 0
148 |  | RACK-4 | 1 | 20998-01-02-0061 |  | 1
149 |  |  | 2 | 20998-01-01-0057 | BEARING -6013 | 4
150 |  |  | 3 | 20998-01-01-0190 |  | 1
151 |  |  | 4 | 20998-09-06-1011
152 |  | RACK-5 | 1 | 20998-01-01-0067
153 |  |  | 2 | 20998-09--26-1010
154 |  |  | 3 | 25726-01-07-0009 |  | 9
155 |  |  | 4 | 25726-01-07-0003

## 83
Bero Spares
S.No | Bero | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
117 | 83 | RACK-1 |  | 25746-09-26-0049 | 10409825 Seal ~ | 1
118 |  |  |  | 25746-09-26-0050 | 10479699 BUSH ~ | 1
119 |  |  |  | 25746-09-26-0123 | 10409845 Sand valve - Axle ~ | 1
120 |  |  |  | 25746-09-26-0124 | 10480279 Sand valve lever - machining ~ | 1
121 |  |  |  | 25746-09-26-0126 | 10409844 Valve plate ~ | 1
122 |  |  |  | 25746-09-26-0128 | 10137351 Arm ~ | 1
123 |  |  |  | 25746-09-26-0146 | 10137354-Holder ~ | 1
124 |  |  |  | 25746-09-26-0147 | 10137357-Sensing plate ~ | 2
125 |  |  |  | 25746-09-26-0152 | TK2880F3210-Pin ~ | 1
126 |  |  |  | 25746-09-26-0077 | 10409782 Sand Valve-Seat ~ | 2
127 |  | RACK-2 |  | 25746-09-26-0157 | 10441292-HINGE DHIM 9035A ~ for door | 2
128 |  |  |  | 25746-09-26-0158 | 201361861-WEAR PLATE MAGNET ~ for Door Magnet | 4
129 |  |  |  | 25746-09-26-0036 | 10137745 Mould guide ~ | 2
130 |  |  |  | 25746-09-26-0038 | 10181620 SPACER ~ | 6
131 |  |  |  |  | AMC cylinder eye shaft & mounting bar
132 |  | RACK-3 |  | 25746-09-26-0103
133 |  |  |  | 25746-09-26-0069 | 10143471 Rail Sealing-Top ~ | 1
134 |  |  |  | 25746-09-26-0070 | 10143468 Rail Sealing - Side ~ | 2
135 |  |  |  | 25746-09-26-0071 | 10143462 Rail Sealing - Bottom ~ | 1

## 82
Bero Spares
S.No | Bero | Rack Number | Bin Number | Spare ID | Spare Discription | Spare Qty (No's)
47 | 82 | RACK-1 | 1 | 25746-31-01-0014 | SG-M10(2674)-FESTO MAKE PNEUMATIC SPARES ~ | 2
48 |  |  |  | 25746-31-01-0016 | SGS-M20 X 1.5(9264)-FESTO MAKE PNEUMATIC SPARES ~ | 2
49 |  |  |  | 25746-01-07-0001 | 10024080 Clevis 20/55/16 M14x1.5 ~ | 1
50 |  |  |  | 25746-09-26-0114 | SGS-M10X1.25(9261)-FESTO MAKE PNEUMATIC SPARES ~ | 1
51 |  |  | 2 | 25746-31-01-0003 | NPQH-L-G18-Q8-P10 ( 578282)-FESTO MAKE PNEUMATIC SPARES ~ | 10
52 |  |  |  | 25746-31-01-0004 | NPQH-D-G18-Q8-P10 ( 578340)-FESTO MAKE PNEUMATIC SPARES ~ | 8
53 |  |  |  | 25746-31-01-0005 | NPFC-L-R14-G14-MF( 8030217)-FESTO MAKE PNEUMATIC SPARES ~ | 5
54 |  |  |  | 25746-31-01-0007 | NPFC-E3-2G14-FM( 8030305)-FESTO MAKE PNEUMATIC SPARES ~ | 2
55 |  |  |  | 25746-31-01-0008 | NPFC-E2-2G18-FM ( 8030302)-FESTO MAKE PNEUMATIC SPARES ~ | 2
56 |  |  |  | 25746-31-01-0009 | NPFC-L-R18-G18-MF( 8030216)-FESTO MAKE PNEUMATIC SPARES ~ | 2
57 |  |  |  | 25746-31-01-0010 | NPQH-T-Q8-E-P10(578382)-FESTO MAKE PNEUMATIC SPARES ~ | 5
58 |  |  |  | 25746-31-01-0011 | QSY-10 (153151)-FESTO MAKE PNEUMATIC SPARES ~ | 5
59 |  |  |  | 25746-31-01-0012 | NPQE-D-Q12-Q10-F1A-P10 ( 8158794)-FESTO MAKE PNEUMATIC SPARE ~ | 5
60 |  |  |  | 25746-31-01-0013 | QS-12-8 (130608)-FESTO MAKE PNEUMATIC SPARES ~ | 5
61 |  |  |  | 25746-31-01-0015 | HGL-1/4-B (530031)-FESTO MAKE PNEUMATIC SPARES ~ | 2
62 |  |  |  | 25746-09-26-0120 | QS-16(153036)-FESTO MAKE PNEUMATIC SPARES ~ | 2
63 |  |  |  | 25746-09-26-0121 | QSL-16 (153075)-FESTO MAKE PNEUMATIC SPARES ~ | 2
64 |  |  |  | 25746-31-01-0017 | QSH-16-12 (153261)-FESTO MAKE PNEUMATIC SPARES ~ | 2
65 |  |  |  | 25746-33-03-0001 | VRPA-CM-Q6-E ( 8086004) ~ FOR QPC FLOW CONTROL WITH GAUGE | 1
66 |  |  |  | 25746-33-03-0002 | AS2200-01-SD-SPEED CONTROLLER TEMP-SMC ~ | 2
67 |  |  |  | 25746-39-04-0002 | SV-3-M5(6817) ~ FOR QPC PUSH BUTTON SWITCH | 1
68 |  |  | 3 | 25746-29-03-0005 | Spare PU Spider only for Rotex 65 Coupling ~ FOR DMM 24/28 | 1
69 |  |  |  | 25746-29-03-0006 | are PU Spider only for Rotex 55 Coupling ~ FOR DMM C3 | 1
70 |  |  |  | 25746-29-03-0007 | are PU Spider only for Rotex 48 Coupling ~ FOR AMC | 1
71 |  |  |  | 25746-29-03-0008 | Spare PU Spider only for Rotex 38 Coupling ~ FOR AMH | 1
72 |  |  |  | 25746-09-26-0014 | 10217601 Shim 0.2 ~ | 13
73 |  |  |  | 25746-09-26-0015 | 10217599 Shim 0.1 ~ | 12
74 |  |  |  | 25746-09-26-0016 | 10217598 Shim 1 ~ | 3
75 |  |  |  | 25746-09-26-0017 | 10383428 Shim 0.5 ~ | 4
76 |  |  |  | 25746-09-26-0022 | 10152230 Shim 0.2 ~ | 16
77 |  |  |  | 25746-09-26-0023 | 10152221 Shim 1 ~ | 6
78 |  |  |  | 25746-09-26-0024 | 10152244 Shim 0.05 ~ | 12
79 |  |  | 4 |  | Pnuematic Connector
80 |  | RACK-2 | 1 | 25746-09-26-0093 | 10430003 Guide pin ~ | 1
81 |  |  |  | 25746-09-26-0094 | 2040A3471 Bushing ~ | 2
82 |  |  |  | 25746-09-26-0095 | 2100D2910 Sealing ~ | 1
83 |  |  |  | 25746-09-26-0144 | 10137339-Scraper flange ~ | 2
84 |  |  |  | 25746-09-26-0020 | 2013F2183 Tong 90 degrees ~ | 7
85 |  |  |  | 25746-09-26-0021 | 10181385 Socket head cap screw M10X40, low head ~ | 6
86 |  |  |  | 25746-09-26-0025 | 10023685 Washer D21 MS ENISO7090 ~ | 4
87 |  |  |  | 25746-09-26-0067 | 10153731 V Groove Wheel ~ | 1
88 |  |  |  | 25746-09-26-0092 | 10430008 Guide pin ~ | 1
89 |  |  | 2 | 25746-09-26-0107 | 10137482 Fitting Tube ~ | 4
90 |  |  |  | 25746-09-26-0141 | 10409506- 0-ring D305 x 5 ~ | 1
91 |  |  |  | 25746-09-26-0145 | 10146111-Scraper 25-35-7.0 ~ | 2
92 |  |  |  | 25746-09-26-0156 | 11111545-SIMMER RING 82-100-10 ~ | 1
93 |  |  |  | 25746-01-02-0002 | 10151948 Bearing R 20/35/24 SH ~ | 1
94 |  |  |  | 25746-01-02-0006 | 10024052 Bearing R 10/12/8 ~ | 2
95 |  |  |  | 25746-09-26-0059 | 10151945 V-ring 60 ~ | 8
96 |  |  |  | 25746-09-26-0062 | 10143317 SPACER ~ | 1
97 |  |  |  | 25746-09-26-0063 | 10143300 Bracket -Flex ~ | 1
98 |  |  |  | 25746-09-26-0078 | 10480192 Bolt ~ | 1
99 |  |  |  | 25746-09-26-0079 | 10083019 O-ring D106,00-6,00 ~ | 1
100 |  |  |  | 25746-09-26-0087 | 10083190 V-ring D71 ~ | 6
101 |  |  | 3 | 25746-09-26-0137 | PART CODE:- 10146847-NIPPLE ~ | 4
102 |  |  |  | 25746-09-26-0019 | 10143803 Guide Pin ~ | 4
103 |  |  |  | 25746-09-26-0029 | 10143276 Bottom Plate ~ | 4
104 |  |  |  | 25746-09-26-0064 | 10143237 Adjustment Shaft ~ | 1
105 |  |  | 4 | 25746-09-26-0137 | PART CODE:- 10146847-NIPPLE ~ | 4
106 |  |  |  |  | O-RING 3MM
107 |  | RACK-3 |  | 25746-09-26-0149 | TK2880F3220-Bottom Flange ~ | 1
108 |  |  |  | 25746-09-26-0150 | TK2880F3190-Orifice Flange ~ | 1
109 |  |  |  | 25746-09-26-0151 | TK2880F3200-Orifice Ring ~ | 1
110 |  |  |  | 25746-09-26-0086 | 10923627 Compensator ~ | 1
111 |  | RACK-4 |  | 25746-01-02-0005 | 10151944 Bearing R 65/120/31 SH ~ | 1
112 |  |  |  | 25746-09-26-0134 | 10177228 Eccentric shaft ~ | 1
113 |  |  |  | 25746-09-26-0135 | 10137760 Shaft ~ | 1
114 |  |  |  | 25746-09-26-0089 | 10154807 Shaft ~ | 1
115 |  |  |  | 25746-09-26-0154 | 2013F2612-PATTERN PLATE LOCK ASSY ~ PP & SP Pattern Lock cylinder | 1
116 |  | RACK-5 |  |  | Butter fly valve for Exhaust