## all_spare
Spare ID | Spare Name | Quantity | Bero Number | Rack Number | Bin Number
Spare ID | Spare Name | Quantity | Bero Number | Rack Number | Bin Number
25600-15-08-0003 | Z Monitor REV6A For Imported unit / MeltMG - FMOD5503 | 3 | 56 | 1 | 0
25600-15-04-0001 | FMOD 5609 - Z CONTROL BOARD REV 8A FOR 60HZ TO 1200HZ | 3 | 56 | 1 | 0
25600-15-07-0045 | GFL Resistor - 12 Ohm, 300W | 2 | 56 | 2 | 1
25600-15-07-0045 | GFL Resistor - 12 Ohm, 300W | 1 | 56 | 2 | 2
25600-15-07-0045 | GFL Resistor - 12 Ohm, 300W | 1 | 56 | 2 | 3
Nil | A32410F1 | 4 | 56 | 2 | 4
25600-15-06-0002 | GROUND LEAK DETECTOR | 2 | 56 | 3 | 1
25600-15-06-0002 | GROUND LEAK DETECTOR | 2 | 56 | 3 | 2
25600-15-06-0004 | TEMPERATURE CONTROLLER ~ DTC303 | 2 | 56 | 3 | 3
25600-15-06-0004 | TEMPERATURE CONTROLLER ~ DTC303 | 2 | 56 | 3 | 4
25600-15-03-0002 | MODULE FMOD 6152 | 5 | 56 | 4 | 1
25600-15-09-0005 | OPTO BRIDGE MODULE FMOD 5629 | 4 | 56 | 4 | 2
25600-19-07-0295 | ITM CODE- FMET001052-TEMPERATURE SWITCH MSP-95 EQV FMET1070 | 8 | 56 | 4 | 3
25600-12-04-0002 | FMET 1070 , TEMP SWITCH , HONEYWELL L6190B 2022U001 | 3 | 56 | 4 | 4
25600-19-07-0224 | FECO002116 - DC POWER SUPPLY 24V DC 5AMP PHOENIX ( Phoenix or | 2 | 56 | 5 | 1
25600-12-02-0004 | fuse 600VAC URD 1500A - A060UD33LI1500 | 10 | 56 | 5 | 2
25600-19-07-0049 |  | 3 | 56 | 5 | 3
25600-19-07-0042 |  | 5 | 56 | 5 | 3
25600-19-07-0240 | FCAP003202 INDUCTO HIGH PERFORMANCE AC CAP 202MFD IR-47 WITH | 5 | 56 | 5 | 3
25600-15-07-0025 | RESISTOR 1E 100W | 4 | 56 | 5 | 4
25600-15-07-0026 | RESISTOR 4E 250W | 4 | 56 | 5 | 4
25600-15-09-0002 | RESISITOR 1K25W | 1 | 56 | 5 | 4
Nil | 50W 205KΩ RESITOR | 8 | 56 | 5 | 4
Nil | ADVANTECH INDUSTRIAL PC | 1 | 56 | 6 | 0
25600-15-06-0016 | FTEM000949 - RESIS.ASSY DOUBLE.(100O) FOR PULKIT | 2 | 56 | 6 | 0
25600-15-07-0034 | RESISTOR | 3 | 56 | 6 | 0
25600-15-07-0023 | CAPACITOR | 5 | 57 | 1 | 1
25600-19-07-0202 | FMOD006203, Power controller card | 3 | 57 | 1 | 2
NIL | CAP | 7 | 57 | 1 | 3
25600-15-07-0029 | SCR FIRING MODULE | 1 | 57 | 1 | 4
25600-15-07-0029 | SCR FIRING MODULE | 1 | 57 | 2 | 1
25600-15-07-0029 | SCR FIRING MODULE | 1 | 57 | 2 | 2
25600-15-07-0029 | SCR FIRING MODULE | 1 | 57 | 2 | 3
25600-15-07-0029 | SCR FIRING MODULE | 1 | 57 | 2 | 4
25600-19-07-0276 | FIMP005164-INDUCTO HIGH PERFORMA DIODE 147-2181-PE | 8 | 57 | 3 | 1
25600-15-07-0047 |  | 9 | 57 | 3 | 2
25600-19-07-0223 | FCAP004044 - CAPACITOR 4 µF 440 VAC. | 12 | 57 | 3 | 2
25600-15-07-0019 | POTENTIOL SENSOR | 2 | 57 | 3 | 3
25600-15-03-0003 | MODULE FMOD 5047 | 3 | 57 | 3 | 4
25600-19-07-0229 | FTRA002076 CVT.XMER 100VA,110V PR 36V SEC.(50HZ) | 1 | 57 | 4 | 1
25600-15-07-0033 | ACI MODULE. | 1 | 57 | 4 | 2
25600-15-07-0033 | ACI MODULE. | 1 | 57 | 4 | 3
25600-15-07-0033 | ACI MODULE. | 1 | 57 | 4 | 4
25600-15-09-0006 | SCR firing module | 1 | 57 | 5 | 1
25600-15-09-0006 | SCR firing module | 1 | 57 | 5 | 2
25600-19-07-0230 | FTRA002078 - CVT.XMER 50VA,110V PR/110V SEC.50HZ | 1 | 57 | 5 | 3
25600-19-07-0230 | FTRA002078 - CVT.XMER 50VA,110V PR/110V SEC.50HZ | 1 | 57 | 5 | 4
25600-19-07-0229 | FTRA002076 CVT.XMER 100VA,110V PR 36V SEC.(50HZ) | 1 | 57 | 6 | 1
25600-19-07-0229 | FTRA002076 CVT.XMER 100VA,110V PR 36V SEC.(50HZ) | 1 | 57 | 6 | 2
25600-15-07-0051 | FMOD 5864 ~ ACI PULSE XMER MODULE | 2 | 57 | 6 | 3
25600-15-07-0051 | FMOD 5864 ~ ACI PULSE XMER MODULE | 2 | 57 | 6 | 4
25600-15-07-0011 | DIODE (SNUBBER) 100A 1300V 147 - 2179 -9 EA ~ FIMP0172 |  | 58 | 1 | 1
25600-15-07-0012 | DIODE (SNUBBER) 100A 1300V 147 - 2180 -7 EA ~ FIMP5192 |  | 58 | 1 | 1
NIL | MASS GAUGE | 1 | 58 | 1 | 2
NIL | TEMPERATURE GAUGE | 4 | 58 | 1 | 2
NIL | ZENOR DIODE | 2 | 58 | 1 | 3
NIL | FDEV000181 | 2 | 58 | 1 | 3
NIL | LUGS |  | 58 | 1 | 4
25600-19-07-0318 | ITEM CODE:- FSER002031-VE DC CU LINK FOR INT ARR-D03494 | 8 | 58 | 2 | 1
25600-19-07-0278 | FC0M000506-HEAT SINK COMPOUND ~ | 1 | 58 | 2 | 1
25600-15-06-0001 | POTENTIAL SENSOR | 5 | 58 | 2 | 2
25600-19-07-0280 | FHSP000224-PROTECTIVE CAP FOR SEMICONDUCTOR ASSY | 2 | 58 | 2 | 3
25600-19-07-0043 | 3/8" x 3/4" brass bolt ~ furnace brass bolt | 1 | 58 | 2 | 0
NIL | POTENTIO METER 5KΩ | 15 | 58 | 2 | 4
NIL | POTENTIO METER 10KΩ | 8 | 58 | 2 | 4
NIL | KV1031S28 2219 | 6 | 58 | 2 | 4
25600-15-07-0035 | DIODE ~ FIMP5193 | 1 | 58 | 3 | 1
25600-15-07-0014 | DIODE ~ FIMP5021 | 1 | 58 | 3 | 2
25600-15-07-0014 | DIODE ~ FIMP5021 | 1 | 58 | 3 | 3
25600-19-07-0276 | FIMP005164-INDUCTO HIGH PERFORMA DIODE 147-2181-PE | 1 | 58 | 3 | 4
25600-15-07-0037 | CONVERTER SCR | 4 | 58 | 4 | 1
25600-15-07-0039 | CONVERTOR SCR FIMP 5166 | 3 | 58 | 4 | 2
25600-15-07-0039 | CONVERTOR SCR FIMP 5166 | 3 | 58 | 4 | 3
25600-19-07-0276 | FIMP005164-INDUCTO HIGH PERFORMA DIODE 147-2181-PE | 1 | 58 | 4 | 4
NIL | FMOD 5047 | 2 | 58 | 5 | 1
NIL | HYDAULIC VALVE(NV-16*3/4" PRE350 BAR) | 1 | 58 | 5 | 2
NIL | TEMPERATURE SENSOR | 7 | 58 | 5 | 3
25600-19-07-0225 | FCAP004002 - CAPACITOR 8 MF 440 VAC | 14 | 58 | 5 | 4
25600-19-03-0003 | CURRENT TRANSFORMER | 1 | 58 | 6 | 1
25600-19-03-0001 | CONTROL TRANSFORMER ~ 700/415v ac - 75va | 1 | 58 | 6 | 2
25600-19-03-0005 | TRANSFORMER ~ FTRA 2045 | 1 | 58 | 6 | 3
25600-19-03-0002 | CURRENT TRANSFORMER ~ | 5 | 58 | 6 | 4
25600-13-03-0002 | CONTACTOR - PHOENIX ~ FECO 1038 - PHOENIX CONTACT | 5 | 59 | 1 | 1
25600-19-07-0107 | Meco make Analog Voltmeter ( 0 - 750V AC ) ~ MLC 96 | 2 | 59 | 1 | 1
25747-19-07-0045 | FECO002801Power Cord (Butterfly) for Monitor : MAKE - ADVANT ~ | 2 | 59 | 1 | 2
25747-19-07-0046 | FECO002603TOUCHSCREEN CABLE DB9/9P 1.8M Male-Female $FEC0002 ~ | 1 | 59 | 1 | 2
NIL | RELAY BASE | 6 | 59 | 1 | 3
NIL | PHOENIX CONTACT ISOLATING AMPLIFIER | 9 | 59 | 1 | 4
NIL | ISOLATING CONVETORS | 2 | 59 | 1 | 4
25600-15-07-0032 | GLD OPTO BRIDGE MOD. | 1 | 59 | 2 | .
25600-15-07-0030 | SCR DUAL FIRING MODULE | 1 | 59 | 2 | 1
25600-15-07-0046 | SCR/DIODE CLAMP ASSY 8.25" STUD 5000LBS | 4 | 59 | 2 | 2
NIL | 10A LIMIT SWITCH | 8 | 59 | 2 | 3
NIL | 6A TOGGLE SWITCH | 5 | 59 | 2
25600-19-07-0005 | KILOWATTS METER ~ FMET0152 | 4 | 59 | 2 | 4
25600-19-07-0228 | FIMP005018 - CAPACITOR 20 MFD 660 VAC 168-3428/806517 | 6 | 59 | 2 | 1
25600-19-07-0231 | FTRA002037 CVT 12 VA 115/50 V FOR 50HZ - CE APPROVED | 3 | 59 | 3 | 2
25600-19-07-0226 | FTRA002075 - TRANSFORMER 8VA,0-415-460-575PR/ 0-110 S - CE TR | 2 | 59 | 3 | 3
NIL | 50VA TRANSFORMER | 1 | 59 | 3 | 4
NIL | FTRA1004 |  | 59 | 3
NIL | ACI MODULE FMOD6252 | 1 | 59 | 4 | 1
25600-13-03-0004 | FMOD 6401 - PCB ASSY FOR VOLTS FREE CONTACT BOARD | 1 | 59 | 4 | 1
25600-15-07-0021 | ACI MODULE ~ FMOD6251 | 1 | 59 | 4 | 2
25600-15-07-0031 | ACI X-MER PULSE MOD. | 2 | 59 | 4 | 3
25600-15-07-0005 | INDUCTO HIGH PERFORMA CAPACITOR IR- EA ~ FCAP 3198 | 1 | 59 | 4 | 4
NIL | LOAD CELL | 1 | 59 | 5 | 1
NIL | INDUCTO THERM NAME PLATE | 1 | 59 | 5 | 1
25600-19-07-0283 | FZSE 000027 - L CLAMP INV WITH PLATING FOR SCR | 4 | 59 | 5 | 2
NIL | F2SE000002 | 8 | 59 | 5 | 2
25600-19-07-0016 | SCR BASE PLATE | 4 | 59 | 5 | 3
25600-19-07-0026 | CHILL BLOCK | 4 | 59 | 5 | 4
25600-15-07-0046 | SCR/DIODE CLAMP ASSY 8.25" STUD 5000LBS | 1 | 59 | 6 | 0
25600-19-07-0083 | SCR Clamp Assy - 10000 LBS W/10.5" STUD | 1 | 59 | 6 | 0
25600-19-07-0318 | ITEM CODE:- FSER002031-VE DC CU LINK FOR INT ARR-D03494 | 1 | 59 | 6 | 0
NIL | BUS BAR | 1 | 59 | 6 | 0
1 | one | 4 | 3 | 3 | 3
2 | two | 2 | 2 | 2 | 2
3 | three | 3 | 3 | 3 | 3
4 | four | 4 | 4 | 4 | 4
5 | five | 5 | 5 | 5 | 5
25600-15-07-0045 | GFL Resistor - 12 Ohm, 300W | 1 | 56 | 2 | 1

## history
DATE TIME | LOCATION | OPERATION | USED QTY | BERO | RACK | BIN | REASON
DATE TIME | LOCATION | OPERATION | USED QTY | BERO | RACK | BIN | REASON
2024-05-24 15:55:15 | Furnace | spare Used with this Spare ID: 4 | 4 | 4 | 4 | four test
2024-05-24 16:00:52 | Furnace | Created new spare with Spare ID 5 | 6 | 5 | 5 | 5
2024-05-24 16:01:23 | Furnace | spare Used with this Spare ID: 5 | 1 | 5 | 5 | 5 | yyyyyyyyyyyyyyyyy
2024-06-12 08:52:04 | Furnace | Created new spare with Spare ID 25600-15-07-0045 | 1 | 56 | 2 | 1
2024-06-12 08:52:25 | Furnace | Updated quantity and booking for Spare ID 25600-15-07-0045 | 1 | 56 | 2 | 1