## all_spare
Spare ID | Spare Name | Quantity | Bero-Rack
25600-01-13-0001 | BEARING GEZ31 ES | 1 | 5
25600-09-26-0032 | ITEM CODE -FSAA004110-PIVOT PIN FCE & FUME HOOD 1.5T SSS W/KE | 1 | 4
25600-12-02-0004 | fuse 600VAC URD 1500A - A060UD33LI1500 | 10
25600-15-03-0004 | IDAI CARD | 1
25600-15-06-0016 | FTEM000949 - RESIS.ASSY DOUBLE.(100O) FOR PULKIT | 2
25600-15-07-0001 | INDUCTO HIGH PERFORMA DC CAPACITOR IR- EA | 2
25600-15-07-0015 | RESISTOR | 7
25600-15-07-0029 | SCR FIRING MODULE | 5
25600-15-07-0030 | SCR DUAL FIRING MODULE | 1
25600-19-07-0202 | FMOD006203, Power controller card | 3
25600-19-07-0233 | FCAP 3202, INDUCTO HIGH PERFORMA AC CAP 202MFD IR-47 | 1
25600-19-07-0276 | FIMP005164-INDUCTO HIGH PERFORMA DIODE 147-2181-PE | 4
25600-23-05-0001 | FFIT 004630 EXCESS FLOW 3/4M X 3/4M WITH ORIFICE | 3
25600-01-13-0002 | BEARING GEZ 38 ES | 1
25600-09-26-0033 | ITEM CODE -FMC0000146-BEARING SPHERICAL 2" DIA | 1
25600-15-07-0031 | ACI X-MER PULSE MOD. | 1
25600-15-07-0045 | GFL Resistor - 12 Ohm, 300W | 6
25600-15-09-0006 | SCR firing module | 2
25600-19-03-0002 | CURRENT TRANSFORMER | 5
25600-19-07-0016 | SCR BASE PLATE | 2
25600-19-07-0224 | FECO002116 - DC POWER SUPPLY 24V DC 5AMP PHOENIX ( Phoenix or | 2
25600-19-07-0231 | FTRA002037 CVT 12 VA 115/50 V FOR 50HZ - CE APPROVED | 2
25600-19-07-0240 | FCAP003202 INDUCTO HIGH PERFORMANCE AC CAP 202MFD IR-47 WITH | 2 | 4
25600-19-07-0281 | FZSE000002- HEAT SINK MTG FLANGER WITH PLATING [ FOR FDEV 01 | 8
25600-19-07-0282 | FZSE 000025 - L CLAMP INV WITH PLATING | 2
25600-19-07-0284 | FCAP 3061 - INDUCTO HIGH PERFORMA AC CAPACITOR IR61 | 1
25600-29-06-0001 | CYL. 125 MM BORE 797 MM STRK 63 MM PR | 2
25600-13-03-0002 | CONTACTOR - PHOENIX | 4
25600-15-03-0002 | MODULE FMOD 6152 | 5
25600-15-07-0025 | RESISTOR 1E 100W | 4
25600-15-07-0033 | ACI MODULE. | 3
25600-15-09-0002 | RESISITOR 1K25W | 1
25600-19-03-0005 | TRANSFORMER | 1
25600-19-07-0047 | Current limiting Reactor, CLR | 1
25600-19-07-0226 | FTRA002075 - TRANSFORMER 8VA,0-415-460-575PR/ 0-110 S - CE TR | 2
25600-23-03-0001 | VALVE DIRECTION CONTROL 2SM12 FFIT4707 | 1
25600-12-04-0001 | RC Snubber ( CONVERTR ) | 4
25600-15-06-0001 | POTENTIAL SENSOR | 4
25600-15-07-0003 | INDUCTO HIGH PERFORMA DC CAPACITOR IR- EA | 2
25600-15-07-0037 | CONVERTER SCR | 4
25600-15-09-0005 | OPTO BRIDGE MODULE FMOD 5629 | 2
25600-19-07-0026 | CHILL BLOCK | 4
25600-19-07-0223 | FCAP004044 - CAPACITOR 4 µF 440 VAC. | 6
25600-19-07-0229 | FTRA002076 CVT.XMER 100VA,110V PR 36V SEC.(50HZ) | 2
25600-19-07-0230 | FTRA002078 - CVT.XMER 50VA,110V PR/110V SEC.50HZ | 2
25600-19-07-0272 | FSER001038 - +VE DC CU LINK FOR DE COUPLING DIODE | 1
25600-19-07-0293 | FIMP001362-JOYSTICK 0-10 V DC 0/P MAKE OEM | 1
25600-29-01-0001 | HYD.CYL SEAL KIT FOR 63MM BORE 45 MM P5 | 1
25600-01-22-0003 | THRUST BEARING 51209-SKF | 2
25600-09-26-0031 | ITEM CODE -FSAA004111-ROD END PIN 1.5T SS 56" OD W/SPACER | 1
25600-13-03-0004 | FMOD 6401 - PCB ASSY FOR VOLTS FREE CONTACT BOARD | 1
25600-15-03-0001 | power control board | 2
25600-15-06-0002 | GROUND LEAK DETECTOR | 1
25600-15-07-0014 | DIODE | 7
25600-15-07-0023 | CAPACITOR | 5
25600-15-07-0032 | GLD OPTO BRIDGE MOD. | 1
25600-19-07-0296 | ITEM CODE-FMET001067-PRESSURE SWITCH MG H07 CA 00 | 6
25600-19-07-0318 | ITEM CODE:- FSER002031-VE DC CU LINK FOR INT ARR-D03494 | 1
25600-27-03-0001 | Return line filter element (Tif 208B10.7) | 1
25600-15-03-0003 | MODULE FMOD 5047 | 3
25600-15-07-0019 | POTENTIOL SENSOR | 2
25600-15-07-0024 | INVERTER SCR | 1
25600-15-07-0026 | RESISTOR 4E 250W | 3
25600-15-07-0034 | RESISTOR | 4
25600-15-07-0035 | DIODE | 1
25600-15-07-0046 | SCR/DIODE CLAMP ASSY 8.25" STUD 5000LBS | 2
25600-15-08-0003 | Z Monitor REV6A For Imported unit / MeltMG - FMOD5503 | 1
25600-19-03-0004 | CURRENT TRANSFORMER | 1
25600-19-07-0083 | SCR Clamp Assy - 10000 LBS W/10.5" STUD | 2
25600-19-07-0228 | FIMP005018 - CAPACITOR 20 MFD 660 VAC 168-3428/806517 | 4
25600-19-07-0232 | FMOD006542 - SCR FIRING MODULE 3.3KHZ ELECT FIRED IP#808515RE | 1
25600-19-07-0283 | FZSE 000027 - L CLAMP INV WITH PLATING FOR SCR | 4
25600-19-07-0295 | ITM CODE- FMET001052-TEMPERATURE SWITCH MSP-95 EQV FMET1070 | 2
25600-23-05-0002 | FFIT005024 VALVE LINE RUTURE PROTECTION TYPE-LB2- | 1
25600-29-01-0002 | cylinder seal kit for 63 bore 45mm P.R | 1
25600-09-26-0034 | ITEM CODE -FMC0000207-BEARING SPHERICAL 1 1/2" ID W/KEY WAY | 1
25600-15-04-0001 | FMOD 5609 - Z CONTROL BOARD REV 8A FOR 60HZ TO 1200HZ | 1
25600-19-07-0280 | FHSP000224-PROTECTIVE CAP FOR SEMICONDUCTOR ASSY | 4
25600-19-07-0317 | ITEM CODE-FIMP00009-POTENTIOMETER 146-0501- | 4
25600-09-26-0012 | FECO000007 - MARS SEAL FOR MONOBLOCK PUMP (FOR AJAY) - HMCO0 | 2
25600-12-04-0002 | FMET 1070 , TEMP SWITCH , HONEYWELL L6190B 2022U001 | 3
25600-15-07-0039 | CONVERTOR SCR FIMP 5166 | 5
25600-19-03-0003 | CURRENT TRANSFORMER | 1
25600-19-07-0225 | FCAP004002 - CAPACITOR 8 MF 440 VAC | 12
25600-21-01-0001 | GEAR PUMP -2P - 3120, 37.88CC/R | 2
25600-98-02-0001 | CYL-SEAL KIT 125MM BORE 63MM ROD | 2
12 | surya | 10 | 1

## history
Date | Event
2023-12-21 10:54:51 | demo | Created new spare with Spare ID 25600-19-07-0016 | 5-1.1
2023-12-22 04:19:00 | Furnace | spare Used with this Spare ID: 25600-01-13-0001 | {'taking to advisesdgh'}
2023-12-22 04:27:54 | Furnace | spare Used with this Spare ID: 25600-19-07-0016 | {'taking to advise'}
2023-12-22 04:28:12 | Furnace | spare Used with this Spare ID: 25600-19-07-0016 | {'taking to advise'}
2023-12-22 13:16:50 | Furnace | Updated quantity and booking for Spare ID 25600-01-13-0001 | {'5'}
2023-12-22 13:17:01 | Furnace | Updated quantity and booking for Spare ID 25600-01-13-0001 | {'5'}
2023-12-25 11:08:42 | Furnace | Updated quantity and booking for Spare ID 25600-19-07-0240 | {'4'}
2023-12-25 11:08:54 | Furnace | Updated quantity and booking for Spare ID 25600-19-07-0240 | {'4'}
2023-12-25 12:50:18 | Furnace | spare Used with this Spare ID: 25600-09-26-0032 | {'new'}
2023-12-25 12:51:11 | Furnace | Updated quantity and booking for Spare ID 25600-09-26-0032 | {'4'}
12 | 2023-12-25 12:54:22 | Furnace | Created new spare with Spare ID 12 | 1
12 | 2023-12-25 13:14:24 | Furnace | Updated quantity and booking for Spare ID 12 | 1
12 | 2023-12-25 13:14:43 | Furnace | spare Used with this Spare ID: 12 | taking to advise
12 | 2023-12-25 13:15:42 | Furnace | Updated quantity and booking for Spare ID 12 | 1 | 10
12 | 2023-12-25 13:15:48 | Furnace | spare Used with this Spare ID: 12 | taking to advise | 1